3GPP TSG SA WG 1 Meeting #110	S1-252629

Fukuoka, Japan, 19-23 May 2025	(Revision of S1-250840,252220,252614)

Title:	Use Case on Critical infrastructure Monitoring

Agenda item:	8.1.8

Source:	NICT, ESA, ZTE

Contact:	Shiro Mazawa (shiro.mazawa@nict.go.jp)
Motoaki Hara (hara.motoaki@nict.go.jp)

Abstract: This contribution presents a use case for critical infrastructure monitoring scenario.

Background

In XGMF white paper, given the worsening and more frequent occurrence of natural disasters, it is imperative to continue to pursue strategies for developing critical infrastructures that directly contribute to national resilience, such as disaster risk reduction and mitigation and countermeasures for aging infrastructures.  As part of countermeasures for aging critical infrastructures, critical infrastructure monitoring with time/positioning mapping of sensing/imaging  results and precise measurement of displacement of infrastructure is required in outdoor location.

This contribution proposes a use case on critical infrastructure monitoring to be included in the study on 6G Use Cases and Service Requirements.

* * * First Change * * * *

2	References

The following documents contain provisions which, through reference in this text, constitute provisions of the present document.

-	References are either specific (identified by date of publication, edition number, version number, etc.) or non-specific.

-	For a specific reference, subsequent revisions do not apply.

-	For a non-specific reference, the latest version applies. In the case of a reference to a 3GPP document (including a GSM document), a non-specific reference implicitly refers to the latest version of that document in the same Release as the present document.

[x1]	XGMF: "Beyond 5G White Paper ~Message to the 2030s~" (https://xgmf.jp/wp-content/uploads/2025/04/Beyond_5G_White_Paper_v4_0.pdf).

[x2]	3GPP TS22.104:” Service requirements for cyber-physical control applications in vertical domains; Stage1”.

[x3] American Society of Civil Engineering, ASCE7 Minimum Design Loads and Associated Criteria for Buildings and Other Structures.

* * * Second Change * * * *

Followings are all new texts.

11 Further Use Cases on Industry and Verticals

11.x	Use case on Critical infrastructure Monitoring

11.x.1	Description

According to [x1], given the worsening and more frequent occurrence of natural disasters, it is imperative to continue to pursue strategies for developing critical infrastructures that directly contribute to national resilience, such as disaster risk reduction and mitigation and countermeasures for aging infrastructures.  To achieve this, appropriate and efficient maintenance of critical infrastructures is crucial.  There are two types of maintenance: corrective maintenance and  predictive maintenance.  Corrective maintenance is performed after critical infrastructures have been damaged, deteriorated, or has lost their function or performance.  On the other hand, predictive maintenance involves planned inspections, repairs, and replacements of critical infrastructures to prevent a decline in function or performance during use.  To reduce overall cost, to improve safety, to increase reliability, and to extend lifespan of critical infrastructures, predictive maintenance become important.

In predictive maintenance, it is necessary to continuously monitor the health (current performance) of critical infrastructures and evaluate them.  Conventionally, monitoring critical infrastructures is performed manually, such as visual and sound inspection.  Recently, methods of monitoring critical infrastructure using ICT are attracting attention.

Critical infrastructure monitoring is a generic term for techniques used to objectively and continuously monitor changes in the condition of structures and buildings.  Two type of results are utlized to monitor critical infrastructure: sensing results and imaging results.  Sensing results are gathered by non-3gpp sensors attached to critical infrastructure (such as temperature, humidity, acceleration and strain) and sent by communication devices attached to critical infrastructure.  Note that the communication device serve not only as a device to send results from non-3gpp sensors, but also as a device to measure precise time and position by 3gpp network and attach precise positioning and timestamp information to sensing results and also as a device to obtain displacement by measuring positional variation precisely.  Imaging results are gathered by surveillance camera, drones and robots and sent by communication devices attached to surveillance camera, drones and robots.  Note that the communication device serve not only as a device to send results from surveillance camera, drones and robots, but also as a device to measure time and precise position by 3gpp network and attach precise positioning and timestamp information to imaging results.  These results are mapped onto critical infrastructure in cyberspace and then diagnosed and predicted structural damage and deterioration.  Therefore, to consistently utilize huge amounts of results from many sensors, cameras, drones and robots, precise positioning results and timestamp information are required.  And, to measure displacement of critical infrastructure, precise displacement information is essential.

11.x.2	Pre-conditions

Company A is entrusted with the management and maintenance of bridge B and building C.  Non-3gpp sensors (e.g., temperature, humidity, acceleration and strain) and surveillance cameras are attached on multiple critical locations of bridge B and building C in terms of critical infrastructure monitoring.  Communication devices are mounted beside the non-3gpp sensors and the surveillance cameras, connected to the non-3gpp sensors and the surveillance cameras via cable, and stored in environmentally resistant boxes with long-life battery.  Mobile operator D is installed a base station covering bridge B and building C and communicates with Company A’s control centre.

Figure 11.x.2-1: Critical Infrastructure Monitoring

11.x.3	Service Flows

1. The non-3gpp sensors gather sensing results, and the surveillance cameras gather imaging results.  The communication devices measure time and position by 3gpp network.  Also, the communication device measures displacements by measuring the change in position of the communication device or by measuring the change in distance between the communication device and the base station.

2. The communication devices collects the sensing results from the non-3gpp sensors and the imaging results from the surveillance camera via cable, stores these results to memory, and adds precise positioning results and timestamp information to these results.

3. The communication devices process the stored results of the sensing results, the imaging results and the positioning results to make the summary periodically and report the summary to Company A’s control centre via 3gpp network.

4. After large event (e.g., earthquake or typhoon), the Company A’s control centre may request the communication devices to send full results.  In this case, the communication devices retrieve full results from its memory and send to Company A’s control centre.

5. Company A’s control centre analyses the reported results, e.g., by comparing the story drift information calculated from the communication device’s displacement results with threshold values calculated from the country’s construction regulations, such as [x3].  There are two types of analyses.  The one is to diagnose aging deterioration by measuring long-term displacement.  The other is to diagnose the degree of destruction by measuring the magnitude of shaking during earthquakes, typhoons, etc.

11.x.4	Post-conditions

Company A can develop an appropriate plan of maintenance of bridge B and building C.

11.x.5	Existing features partly or fully covering the use case functionality

In [x2] clause 7.3.2.2, it is described that the 5G system shall be able to provide positioning services with the performances requirements reported in Table 7.3.2.2-1, and in Table 7.3.2.2-1, it is described that horizontal accuracy 0.3m with 99% availability is required.  Also, the 5G system supports accurate positioning capability with aid of Positioning Reference Unit.  Using Positioning Reference Unit, cm-level accuracy is achieved, but it is mainly for indoors.  However, cm-level accuracy of positioning and displacement in outdoor is required in the use case, especially the use case of measuring displacement of critical infrastructure.

11.x.6	Potential New Requirements needed to support the use case

[PR 11.x.6-001] The 6G system shall be able to support the following KPIs.

Table 11.x.6-1: KPIs for critical infrastructure monitoring

| Scenario | Positioning Accuracy (95 % confidence level) |  | Positioning service availability | Positioning service latency | Environment of use | UE speed | UE type |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Horizontal Accuracy | Vertical Accuracy |  |  |  |  |  |
| Critical Infrastructure Monitoring | [10]cm (Note 1) | [1]m | [99%] | [100]ms (Note 2) | Outdoor | stationary | Infrastructure mounted |
| Note 1: Assuming the UEs are installed at each story of a building with story height of 4m. Note 2: Assuming the frequency of an earthquake is 10 Hz. |  |  |  |  |  |  |  |