## Slide 1: WF on Test System Uncertainty Evolution for FR2
Verizon []
3GPP TSG-RAN WG4 meeting #91 R5-194673
Reno, Nevada, USA, 13th-17th May, 2019
Agenda Item: 5.3.5
Document for: Discussion/Approval
3GPP TSG RAN WG5 Meeting #5-5G-NR Adhoc R5-192909
Xian, China, 9th – 12th April 2019

## Slide 2: Background
The Maximum Test System Uncertainty (MTSU) is used to determine a permitted test methodology
MTSU values are identified that can have an impact on the measured quantity, for example
  Planning FR2 network
  Physical FR2 transmitter characteristics
  FR2 device quality of validation
For each MU element, the probability distribution needs to be determined which is based on methods
RAN5 is working under a tight schedule for Rel.15 and keeps on other requirements for FR2 UE conformance on-time
  Retain large MU values in TR 38.903
  Outcome of EIRP and TRP measurement is insecure
Still, it is necessary to reduce the MTSU values further to ensure the NR EIRP power definition

## Slide 3: Way Forward
Proposal 1: RAN5 should continually review the MTSU values for FR2 defined in TS38.521-2 and TS38.521-3, including
  Identify test and data-reduction procedure which can have important impact on the accuracy of the results
  Verify inappropriate MU value which may be generated
  Solidify results and confirm predicted MTSU values
  Check where data could be reduced by methods of uncertainty analysis
Proposal 2: RAN5 agrees to start a study item (SI) to continually optimize the MTSU values in this year
  Set a goal of improvement (e.g., 30%)
  A study phase is from December 2019 and in nine months duration
  Investigate and improve MTSU in terms of plan of OEM ecosystems and device certification,
  Justify and quantify MTSU values from study
  Define solution to hardware or software system that can successfully use the propagated platforms already in operation in labs
    Identify responsibility of HW, SW changes
  Extend new MTSU to UE Demodulation and RRM based on industry input
Proposal 3: The quantified MU threshold should be release independent