3GPP TSG-RAN WG4 Meeting # 100-e	R4-2115759

# Electronic Meeting, 16 – 27 August 2021

Agenda item:	9.1.3.3

Source:	Keysight Technologies UK Ltd, Spirent Communications, CMCC, CAICT

Title:	Reference Channel Emulation Curves for Validation Purposes

Document for:	Approval

# Introduction

This contribution presents the reference channel emulation curves for validation purposes.

# Discussion

Three companies presented reference channel emulation curves in RAN4#99-e, i.e., Keysight, Spirent, and CMCC. The WF from that meeting provided guidance for alignment purposes [1].

Offline discussions were held, and validation curves were shared among these companies. Unfortunately, time ran out to conclude on the final, averaged reference curves, which is why three separate contributions were submitted [2][3][4] by the submission deadline with the goal to provide a joint, late contribution prior to the start of the meeting with the averaged reference curves. Those results are presented here. It should be noted that the curves provided in [4] were replaced with curves provided after the original submission.

The approach agreed by the contributors to determine the reference curves is as follows:

- Power Delay Profile (PDP): Take average of KS, Spirent, CMCC reference curves and round the power to 0.1 dB accuracy.

- Temporal Correlation Function (TCF): Take average of KS, Spirent, CMCC reference curves and keep 0.001 accuracy.

- Spatial Correlation Function (SCF): Take average of KS, Spirent, CMCC reference curves and keep 0.01 accuracy.

- V/H Ratio: Take average of KS, Spirent, CMCC reference curves and keep 0.1 accuracy.

The averaged reference CDL-C UMa results for

- PDP are tabulated in Table 1 and Table 2 and shown in Figure 1 through Figure 4

- Temporal auto-correlation are tabulated in Table 3 and Table 4 and shown in Figure 5 through Figure 8

- Spatial correlation is tabulated in Table 5 and shown in Figure 9

- V/H-ratios are tabulated in Table 6

The averaged reference CDL-C UMi results for

- PDP are tabulated in Table 7 and Table 8 and shown in Figure 10 through Figure 13

- Temporal auto-correlation are tabulated in Table 9 and Table 10 and shown in Figure 14 through Figure 17

- Spatial correlation is tabulated in Table 11 and shown in Figure 18

- V/H-ratios are tabulated in Table 12

It is proposed to adopt the averaged CDL-C UMa and CDL-C UMi curves as reference channel emulation curves for validation purposes.

Proposal 1: Adopt the averaged CDL-C UMa curves as reference channel emulation curves for validation purposes

Proposal 2: Adopt the averaged CDL-C UMi curves as reference channel emulation curves for validation purposes

The annex presents the individual validation curves presented in [2][3][4] as well as the resulting averages.

CDL-C UMa

Table 1. Reference PDP of CDL-C UMa with combined beams and ≤ 2.5 GHz

| Delay [ns] | Power [dB] |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | X2V | H11 | H21 | H12 | H22 |
| 0.0 | -25.9 | -27.6 | -24.9 | -25.0 | -27.7 |
| 76.6 | -2.5 | -2.5 | -2.5 | -2.8 | -2.9 |
| 79.4 | -13.0 | -13.8 | -12.5 | -12.7 | -14.0 |
| 81.0 | -5.0 | -6.1 | -4.3 | -4.5 | -6.3 |
| 85.0 | -6.2 | -6.2 | -5.9 | -6.6 | -6.9 |
| 232.4 | 0.0 | -0.1 | 0.0 | -0.3 | -0.4 |
| 235.4 | -2.7 | -3.5 | -2.0 | -2.3 | -4.0 |
| 239.4 | -3.9 | -4.0 | -3.7 | -4.3 | -4.6 |
| 240.3 | -inf | -inf | -39.7 | -inf | -inf |
| 289.6 | -25.8 | -26.2 | -25.5 | -25.8 | -26.6 |
| 299.8 | -36.2 | -36.9 | -35.9 | -36.0 | -37.0 |
| 448.4 | -26.3 | -26.3 | -26.1 | -26.7 | -26.8 |
| 477.5 | -25.8 | -26.2 | -25.5 | -25.9 | -26.6 |
| 1679.1 | -37.8 | -37.8 | -37.7 | -38.1 | -38.4 |

Figure 1: Reference PDP of CDL-C UMa with combined beams and ≤ 2.5 GHz.

Figure 2: Reference X2V PDP of CDL-C UMa with combined beams and ≤ 2.5 GHz

Table 2. Reference PDP of CDL-C UMa with combined beams and > 2.5 GHz

| Delay [ns] | Power [dB] |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | X2V | H11 | H21 | H12 | H22 |
| 0.0 | -26.0 | -27.7 | -25.0 | -25.1 | -27.8 |
| 76.6 | -2.5 | -2.8 | -2.5 | -2.7 | -3.0 |
| 79.4 | -13.1 | -13.9 | -12.5 | -12.7 | -14.3 |
| 81.0 | -5.6 | -6.7 | -4.6 | -5.1 | -7.5 |
| 85.0 | -6.1 | -6.0 | -5.9 | -6.8 | -6.9 |
| 232.4 | 0.0 | -0.3 | 0.0 | -0.2 | -0.4 |
| 235.4 | -3.3 | -3.9 | -2.2 | -3.1 | -5.2 |
| 239.4 | -3.7 | -3.7 | -3.5 | -4.3 | -4.5 |
| 289.6 | -27.0 | -27.3 | -26.7 | -27.1 | -27.7 |
| 299.8 | -37.8 | -38.5 | -37.7 | -37.6 | -38.4 |
| 448.4 | -26.6 | -26.7 | -26.4 | -26.9 | -27.1 |
| 477.5 | -26.8 | -27.3 | -26.5 | -26.8 | -27.6 |

Figure 3: Reference PDP of CDL-C UMa with combined beams and > 2.5 GHz.

Figure 4: Reference X2V PDP of CDL-C UMa with combined beams and ≤ 2.5 GHz

Table 3. Reference Temporal auto-correlation of CDL-C UMa with combined beams and ≤ 2.5 GHz

| lambdas | X2V | H11 | H21 | H12 | H22 |
| --- | --- | --- | --- | --- | --- |
| 0.0 | 1.000 | 1.000 | 1.000 | 1.000 | 1.000 |
| 0.1 | 0.955 | 0.958 | 0.952 | 0.952 | 0.957 |
| 0.2 | 0.827 | 0.838 | 0.819 | 0.816 | 0.836 |
| 0.3 | 0.638 | 0.659 | 0.623 | 0.618 | 0.657 |
| 0.4 | 0.422 | 0.451 | 0.402 | 0.394 | 0.448 |
| 0.5 | 0.221 | 0.255 | 0.197 | 0.188 | 0.253 |
| 0.6 | 0.130 | 0.169 | 0.098 | 0.094 | 0.168 |
| 0.7 | 0.203 | 0.254 | 0.169 | 0.162 | 0.247 |
| 0.8 | 0.278 | 0.358 | 0.229 | 0.208 | 0.340 |
| 0.9 | 0.311 | 0.425 | 0.244 | 0.206 | 0.393 |
| 1.0 | 0.306 | 0.449 | 0.228 | 0.169 | 0.401 |
| 1.1 | 0.274 | 0.432 | 0.194 | 0.119 | 0.371 |
| 1.2 | 0.225 | 0.382 | 0.154 | 0.076 | 0.312 |
| 1.3 | 0.170 | 0.308 | 0.116 | 0.049 | 0.235 |
| 1.4 | 0.114 | 0.220 | 0.085 | 0.033 | 0.153 |
| 1.5 | 0.067 | 0.135 | 0.076 | 0.015 | 0.078 |
| 1.6 | 0.045 | 0.077 | 0.090 | 0.015 | 0.025 |
| 1.7 | 0.055 | 0.084 | 0.110 | 0.042 | 0.027 |
| 1.8 | 0.069 | 0.120 | 0.123 | 0.065 | 0.034 |
| 1.9 | 0.077 | 0.149 | 0.131 | 0.080 | 0.019 |
| 2.0 | 0.078 | 0.165 | 0.140 | 0.085 | 0.012 |
| 2.1 | 0.076 | 0.170 | 0.157 | 0.083 | 0.050 |
| 2.2 | 0.073 | 0.169 | 0.178 | 0.074 | 0.084 |
| 2.3 | 0.071 | 0.164 | 0.193 | 0.063 | 0.108 |
| 2.4 | 0.067 | 0.156 | 0.194 | 0.051 | 0.115 |
| 2.5 | 0.059 | 0.145 | 0.174 | 0.042 | 0.106 |
| 2.6 | 0.045 | 0.130 | 0.135 | 0.042 | 0.083 |
| 2.7 | 0.025 | 0.110 | 0.082 | 0.058 | 0.052 |
| 2.8 | 0.006 | 0.087 | 0.025 | 0.081 | 0.023 |
| 2.9 | 0.025 | 0.061 | 0.037 | 0.104 | 0.015 |
| 3.0 | 0.044 | 0.039 | 0.077 | 0.119 | 0.031 |
| 3.1 | 0.056 | 0.031 | 0.097 | 0.122 | 0.039 |
| 3.2 | 0.061 | 0.043 | 0.098 | 0.112 | 0.040 |
| 3.3 | 0.061 | 0.066 | 0.090 | 0.093 | 0.036 |
| 3.4 | 0.064 | 0.094 | 0.091 | 0.072 | 0.031 |
| 3.5 | 0.071 | 0.120 | 0.107 | 0.055 | 0.030 |
| 3.6 | 0.078 | 0.140 | 0.127 | 0.047 | 0.035 |
| 3.7 | 0.079 | 0.148 | 0.136 | 0.048 | 0.043 |
| 3.8 | 0.072 | 0.140 | 0.129 | 0.056 | 0.050 |
| 3.9 | 0.059 | 0.118 | 0.110 | 0.065 | 0.052 |
| 4.0 | 0.042 | 0.086 | 0.084 | 0.066 | 0.046 |
| 4.1 | 0.024 | 0.053 | 0.061 | 0.052 | 0.035 |
| 4.2 | 0.011 | 0.033 | 0.045 | 0.024 | 0.036 |
| 4.3 | 0.027 | 0.031 | 0.043 | 0.032 | 0.059 |
| 4.4 | 0.050 | 0.028 | 0.055 | 0.082 | 0.087 |
| 4.5 | 0.072 | 0.016 | 0.074 | 0.128 | 0.110 |
| 4.6 | 0.085 | 0.021 | 0.092 | 0.156 | 0.120 |
| 4.7 | 0.087 | 0.047 | 0.099 | 0.160 | 0.116 |
| 4.8 | 0.076 | 0.071 | 0.093 | 0.140 | 0.099 |
| 4.9 | 0.054 | 0.085 | 0.073 | 0.106 | 0.072 |
| 5.0 | 0.026 | 0.085 | 0.045 | 0.075 | 0.043 |

Figure 5: Reference Temporal auto-correlation of CDL-C UMa with combined beams and ≤ 2.5 GHz

Figure 6: Reference X2V Temporal auto-correlation of CDL-C UMa with combined beams and ≤ 2.5 GHz

Table 4. Reference Temporal auto-correlation of CDL-C UMa with combined beams and with > 2.5 GHz

| lambdas | X2V | H11 | H21 | H12 | H22 |
| --- | --- | --- | --- | --- | --- |
| 0.0 | 1.000 | 1.000 | 1.000 | 1.000 | 1.000 |
| 0.1 | 0.954 | 0.958 | 0.952 | 0.951 | 0.957 |
| 0.2 | 0.825 | 0.838 | 0.817 | 0.813 | 0.836 |
| 0.3 | 0.635 | 0.660 | 0.620 | 0.612 | 0.655 |
| 0.4 | 0.419 | 0.452 | 0.398 | 0.386 | 0.446 |
| 0.5 | 0.218 | 0.257 | 0.193 | 0.180 | 0.253 |
| 0.6 | 0.124 | 0.166 | 0.090 | 0.088 | 0.168 |
| 0.7 | 0.193 | 0.244 | 0.157 | 0.155 | 0.241 |
| 0.8 | 0.260 | 0.343 | 0.209 | 0.194 | 0.327 |
| 0.9 | 0.284 | 0.406 | 0.216 | 0.181 | 0.372 |
| 1.0 | 0.271 | 0.426 | 0.191 | 0.132 | 0.373 |
| 1.1 | 0.233 | 0.407 | 0.153 | 0.070 | 0.337 |
| 1.2 | 0.183 | 0.356 | 0.113 | 0.015 | 0.274 |
| 1.3 | 0.131 | 0.284 | 0.079 | 0.020 | 0.197 |
| 1.4 | 0.084 | 0.201 | 0.060 | 0.031 | 0.118 |
| 1.5 | 0.053 | 0.124 | 0.070 | 0.022 | 0.051 |
| 1.6 | 0.049 | 0.077 | 0.095 | 0.023 | 0.012 |
| 1.7 | 0.060 | 0.087 | 0.116 | 0.051 | 0.028 |
| 1.8 | 0.067 | 0.117 | 0.125 | 0.079 | 0.028 |
| 1.9 | 0.066 | 0.140 | 0.125 | 0.098 | 0.013 |
| 2.0 | 0.060 | 0.153 | 0.127 | 0.105 | 0.036 |
| 2.1 | 0.054 | 0.159 | 0.140 | 0.101 | 0.074 |
| 2.2 | 0.052 | 0.161 | 0.164 | 0.090 | 0.108 |
| 2.3 | 0.053 | 0.160 | 0.184 | 0.076 | 0.128 |
| 2.4 | 0.053 | 0.155 | 0.188 | 0.063 | 0.132 |
| 2.5 | 0.049 | 0.145 | 0.172 | 0.054 | 0.118 |
| 2.6 | 0.037 | 0.129 | 0.133 | 0.055 | 0.093 |
| 2.7 | 0.018 | 0.107 | 0.078 | 0.069 | 0.062 |
| 2.8 | 0.009 | 0.081 | 0.022 | 0.091 | 0.032 |
| 2.9 | 0.032 | 0.053 | 0.050 | 0.114 | 0.010 |
| 3.0 | 0.051 | 0.029 | 0.092 | 0.128 | 0.007 |
| 3.1 | 0.061 | 0.012 | 0.112 | 0.129 | 0.009 |
| 3.2 | 0.060 | 0.003 | 0.109 | 0.116 | 0.004 |
| 3.3 | 0.049 | 0.011 | 0.088 | 0.093 | 0.011 |
| 3.4 | 0.034 | 0.031 | 0.066 | 0.066 | 0.024 |
| 3.5 | 0.027 | 0.056 | 0.067 | 0.043 | 0.035 |
| 3.6 | 0.032 | 0.080 | 0.086 | 0.032 | 0.043 |
| 3.7 | 0.038 | 0.098 | 0.101 | 0.031 | 0.048 |
| 3.8 | 0.040 | 0.104 | 0.103 | 0.037 | 0.048 |
| 3.9 | 0.037 | 0.101 | 0.095 | 0.042 | 0.042 |
| 4.0 | 0.035 | 0.091 | 0.084 | 0.038 | 0.030 |
| 4.1 | 0.039 | 0.082 | 0.075 | 0.025 | 0.032 |
| 4.2 | 0.057 | 0.079 | 0.076 | 0.043 | 0.065 |
| 4.3 | 0.087 | 0.081 | 0.090 | 0.096 | 0.110 |
| 4.4 | 0.122 | 0.085 | 0.115 | 0.158 | 0.154 |
| 4.5 | 0.153 | 0.092 | 0.142 | 0.212 | 0.190 |
| 4.6 | 0.172 | 0.104 | 0.161 | 0.245 | 0.208 |
| 4.7 | 0.174 | 0.119 | 0.165 | 0.246 | 0.206 |
| 4.8 | 0.156 | 0.129 | 0.149 | 0.216 | 0.184 |
| 4.9 | 0.121 | 0.130 | 0.116 | 0.162 | 0.144 |
| 5.0 | 0.076 | 0.117 | 0.072 | 0.100 | 0.095 |

Figure 7: Reference Temporal auto-correlation of CDL-C UMa with combined beams and with > 2.5 GHz

Figure 8: Reference X2V Temporal auto-correlation of CDL-C UMa with combined beams and with > 2.5 GHz

Table 5. Reference Spatial correlation of CDL-C UMa with combined beams

| 617 MHz |  | 722 MHz |  | 836.5 MHz |  | 1575.42 MHz |  | 1800 MHz |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Azim [°] | ¦r¦ comb | Azim [°] | ¦r¦ comb | Azim [°] | ¦r¦ comb | Azim [°] | ¦r¦ comb | Azim [°] | ¦r¦ comb |
| 270.0 | 1.00 | 270.0 | 1.00 | 270.0 | 1.00 | 270.0 | 1.00 | 270.0 | 1.00 |
| 251.4 | 0.99 | 254.1 | 0.99 | 256.3 | 0.99 | 262.7 | 0.99 | 260.9 | 0.99 |
| 232.9 | 0.99 | 238.3 | 0.98 | 242.6 | 0.98 | 255.5 | 0.98 | 251.7 | 0.96 |
| 214.3 | 0.98 | 222.4 | 0.97 | 228.9 | 0.97 | 248.2 | 0.96 | 242.6 | 0.93 |
| 195.8 | 0.96 | 206.6 | 0.96 | 215.2 | 0.96 | 240.9 | 0.94 | 233.5 | 0.90 |
| 110.4 | 0.61 | 190.7 | 0.94 | 201.6 | 0.95 | 233.7 | 0.92 | 224.3 | 0.89 |
| 40.8 | 0.47 | 120.5 | 0.58 | 187.9 | 0.92 | 226.4 | 0.91 | 215.2 | 0.88 |
| 331.2 | 0.85 | 61.1 | 0.30 | 128.7 | 0.56 | 219.1 | 0.90 | 206.0 | 0.87 |
|  |  | 1.6 | 0.56 | 77.3 | 0.19 | 211.9 | 0.89 | 196.9 | 0.84 |
|  |  | 302.1 | 0.95 | 26.0 | 0.27 | 204.6 | 0.88 | 187.8 | 0.79 |
|  |  |  |  | 334.7 | 0.70 | 197.3 | 0.87 | 134.3 | 0.16 |
|  |  |  |  | 283.3 | 0.99 | 190.0 | 0.84 | 88.6 | 0.30 |
|  |  |  |  |  |  | 182.8 | 0.79 | 43.0 | 0.22 |
|  |  |  |  |  |  | 152.7 | 0.42 | 357.3 | 0.36 |
|  |  |  |  |  |  | 125.5 | 0.13 | 311.6 | 0.57 |
|  |  |  |  |  |  | 98.2 | 0.30 |  |  |
|  |  |  |  |  |  | 71.0 | 0.31 |  |  |
|  |  |  |  |  |  | 43.7 | 0.29 |  |  |
|  |  |  |  |  |  | 16.5 | 0.33 |  |  |
|  |  |  |  |  |  | 349.2 | 0.29 |  |  |
|  |  |  |  |  |  | 321.9 | 0.48 |  |  |
|  |  |  |  |  |  | 294.7 | 0.88 |  |  |

| 2132.5 MHz |  | 2450 MHz |  | 3600 MHz |  | 4700 MHz |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Azim [°] | ¦r¦ comb | Azim [°] | ¦r¦ comb | Azim [°] | ¦r¦ comb | Azim [°] | ¦r¦ comb |
| 270.0 | 1.00 | 270.0 | 1.00 | 270.0 | 1.00 | 270.0 | 1.00 |
| 261.9 | 0.99 | 263.0 | 0.99 | 265.2 | 0.98 | 266.3 | 0.98 |
| 253.9 | 0.95 | 256.0 | 0.95 | 260.5 | 0.95 | 262.7 | 0.94 |
| 245.8 | 0.92 | 249.0 | 0.91 | 255.7 | 0.90 | 259.0 | 0.89 |
| 237.8 | 0.89 | 242.0 | 0.87 | 250.9 | 0.84 | 255.4 | 0.83 |
| 229.7 | 0.86 | 234.9 | 0.85 | 246.1 | 0.80 | 251.7 | 0.78 |
| 221.7 | 0.85 | 227.9 | 0.83 | 241.4 | 0.77 | 248.1 | 0.73 |
| 213.6 | 0.85 | 220.9 | 0.82 | 236.6 | 0.75 | 244.4 | 0.70 |
| 205.6 | 0.83 | 213.9 | 0.82 | 231.8 | 0.73 | 240.8 | 0.68 |
| 197.5 | 0.80 | 206.9 | 0.80 | 227.1 | 0.72 | 237.1 | 0.66 |
| 189.5 | 0.75 | 199.9 | 0.77 | 222.3 | 0.71 | 233.5 | 0.65 |
| 181.4 | 0.67 | 192.9 | 0.73 | 217.5 | 0.70 | 229.8 | 0.64 |
| 139.7 | 0.22 | 185.9 | 0.66 | 212.7 | 0.69 | 226.1 | 0.63 |
| 99.5 | 0.24 | 144.9 | 0.26 | 208.0 | 0.67 | 222.5 | 0.62 |
| 59.2 | 0.03 | 109.9 | 0.23 | 203.2 | 0.64 | 218.8 | 0.61 |
| 18.9 | 0.16 | 74.8 | 0.19 | 198.4 | 0.61 | 215.2 | 0.60 |
| 338.6 | 0.37 | 39.8 | 0.13 | 193.7 | 0.56 | 211.5 | 0.59 |
| 298.4 | 0.73 | 4.7 | 0.15 | 188.9 | 0.49 | 207.9 | 0.57 |
|  |  | 329.7 | 0.38 | 184.1 | 0.41 | 204.2 | 0.55 |
|  |  | 294.6 | 0.74 | 156.1 | 0.42 | 200.6 | 0.52 |
|  |  |  |  | 132.3 | 0.19 | 196.9 | 0.48 |
|  |  |  |  | 108.4 | 0.64 | 193.3 | 0.42 |
|  |  |  |  | 84.6 | 0.47 | 189.6 | 0.35 |
|  |  |  |  | 60.7 | 0.44 | 185.9 | 0.26 |
|  |  |  |  | 36.9 | 0.28 | 182.3 | 0.18 |
|  |  |  |  | 13.0 | 0.16 | 161.7 | 0.59 |
|  |  |  |  | 349.1 | 0.16 | 143.5 | 0.26 |
|  |  |  |  | 325.3 | 0.41 | 125.2 | 0.79 |
|  |  |  |  | 301.4 | 0.40 | 106.9 | 0.43 |
|  |  |  |  | 277.6 | 0.95 | 88.6 | 0.68 |
|  |  |  |  |  |  | 70.4 | 0.63 |
|  |  |  |  |  |  | 52.1 | 0.75 |
|  |  |  |  |  |  | 33.8 | 0.87 |
|  |  |  |  |  |  | 15.5 | 0.67 |
|  |  |  |  |  |  | 357.3 | 0.09 |
|  |  |  |  |  |  | 339.0 | 0.25 |
|  |  |  |  |  |  | 320.7 | 0.32 |
|  |  |  |  |  |  | 302.4 | 0.42 |
|  |  |  |  |  |  | 284.2 | 0.73 |

Figure 9: Reference Spatial correlation of CDL-C UMa with combined beams

Table 6: Reference V/H-ratios for CDL-C UMa

| UMa C, fc ≤ 2.5 GHz | Beam 1 | Input 1: V/H = -0.5 dB Input 2: V/H = 0.6 dB |
| --- | --- | --- |
|  | Beam 2 | Input 1: V/H = -0.6 dB Input 2: V/H = 0.7 dB |
|  | Beam 1 + Beam 2 | Inputs 1+2: V/H = 0 dB |
| UMa C, fc > 2.5 GHz | Beam 1 | Input 1: V/H = -0.6 dB Input 2: V/H = 0.7 dB |
|  | Beam 2 | Input 1: V/H = -0.7 dB Input 2: V/H = 0.8 dB |
|  | Beam 1 + Beam 2 | Inputs 1+2: V/H = 0 dB |

CDL-C UMi

Table 7. Reference PDP of CDL-C UMi beam 1 ≤ 2.5 GHz

| Delay [ns] | Power [dB] |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | X2V | H11 | H21 | H12 | H22 |
| 0.0 | -27.7 | -28.7 | -27.1 | -27.2 | -28.8 |
| 21.0 | -27.9 | -28.1 | -27.6 | -28.1 | -28.7 |
| 21.8 | -19.6 | -20.2 | -19.3 | -19.5 | -20.4 |
| 22.2 | -20.9 | -23.8 | -19.6 | -19.5 | -23.6 |
| 23.3 | -25.2 | -25.4 | -24.3 | -25.5 | -27.1 |
| 63.7 | 0.0 | 0.0 | 0.0 | -0.4 | -0.4 |
| 64.5 | -2.4 | -3.5 | -1.9 | -1.9 | -3.5 |
| 65.6 | -3.9 | -4.0 | -3.7 | -4.3 | -4.6 |
| 65.8 | -35.7 | -35.3 | -35.6 | -36.7 | -36.4 |
| 79.4 | -30.0 | -30.3 | -29.8 | -30.2 | -30.6 |
| 122.9 | -34.0 | -33.7 | -33.9 | -34.8 | -34.5 |
| 130.8 | -29.9 | -30.1 | -29.7 | -30.1 | -30.5 |
| 217.0 | -37.8 | -38.6 | -37.4 | -37.6 | -38.7 |
| 460.0 | -38.5 | -38.8 | -38.3 | -38.5 | -39.1 |

Figure 10: Reference PDP of CDL-C UMi beam 1 ≤ 2.5 GHz.

Figure 11: Reference X2V PDP of CDL-C UMi beam 1 ≤ 2.5 GHz.

Table 8. Reference PDP of CDL-C UMi beam 1 > 2.5 GHz

| Delay [ns] | Power [dB] |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | X2V | H11 | H21 | H12 | H22 |
| 0.0 | -27.7 | -28.8 | -27.1 | -27.2 | -28.9 |
| 21.0 | -27.9 | -28.1 | -27.6 | -28.1 | -28.7 |
| 21.8 | -19.6 | -20.2 | -19.3 | -19.5 | -20.4 |
| 22.2 | -20.9 | -23.8 | -19.6 | -19.5 | -23.6 |
| 23.3 | -25.3 | -25.4 | -24.3 | -25.5 | -27.1 |
| 63.7 | 0.0 | 0.0 | 0.0 | -0.4 | -0.4 |
| 64.5 | -2.4 | -3.5 | -1.9 | -1.9 | -3.5 |
| 65.6 | -3.9 | -4.0 | -3.7 | -4.3 | -4.6 |
| 65.8 | -35.7 | -35.3 | -35.6 | -36.7 | -36.3 |
| 79.4 | -30.1 | -30.4 | -29.9 | -30.2 | -30.7 |
| 122.9 | -34.0 | -33.7 | -33.9 | -34.8 | -34.5 |
| 130.8 | -29.9 | -30.1 | -29.7 | -30.0 | -30.5 |
| 217.0 | -38.0 | -38.7 | -37.6 | -37.7 | -38.9 |
| 460.0 | -38.6 | -38.9 | -38.4 | -38.7 | -39.3 |

Figure 12: Reference PDP of CDL-C UMi beam 1 > 2.5 GHz.

Figure 13: Reference X2V PDP of CDL-C UMi beam 1 > 2.5 GHz.

Table 9. Reference Temporal auto-correlation of CDL-C UMi beam 1 ≤ 2.5 GHz.

| lambdas | X2V | H11 | H21 | H12 | H22 |
| --- | --- | --- | --- | --- | --- |
| 0.0 | 1.000 | 1.000 | 1.000 | 1.000 | 1.000 |
| 0.1 | 0.995 | 0.997 | 0.994 | 0.994 | 0.997 |
| 0.2 | 0.982 | 0.987 | 0.978 | 0.977 | 0.987 |
| 0.3 | 0.962 | 0.973 | 0.953 | 0.951 | 0.972 |
| 0.4 | 0.936 | 0.955 | 0.921 | 0.917 | 0.953 |
| 0.5 | 0.906 | 0.935 | 0.884 | 0.878 | 0.931 |
| 0.6 | 0.872 | 0.913 | 0.842 | 0.833 | 0.907 |
| 0.7 | 0.834 | 0.888 | 0.796 | 0.783 | 0.880 |
| 0.8 | 0.793 | 0.861 | 0.746 | 0.729 | 0.850 |
| 0.9 | 0.750 | 0.831 | 0.693 | 0.672 | 0.818 |
| 1.0 | 0.705 | 0.801 | 0.640 | 0.613 | 0.783 |
| 1.1 | 0.659 | 0.769 | 0.588 | 0.553 | 0.746 |
| 1.2 | 0.614 | 0.735 | 0.537 | 0.496 | 0.707 |
| 1.3 | 0.569 | 0.702 | 0.491 | 0.441 | 0.667 |
| 1.4 | 0.527 | 0.667 | 0.449 | 0.391 | 0.626 |
| 1.5 | 0.487 | 0.633 | 0.412 | 0.348 | 0.585 |
| 1.6 | 0.450 | 0.599 | 0.382 | 0.312 | 0.544 |
| 1.7 | 0.417 | 0.567 | 0.357 | 0.284 | 0.504 |
| 1.8 | 0.387 | 0.535 | 0.337 | 0.264 | 0.466 |
| 1.9 | 0.361 | 0.505 | 0.321 | 0.249 | 0.429 |
| 2.0 | 0.337 | 0.476 | 0.307 | 0.240 | 0.394 |
| 2.1 | 0.316 | 0.448 | 0.294 | 0.232 | 0.360 |
| 2.2 | 0.296 | 0.421 | 0.281 | 0.226 | 0.328 |
| 2.3 | 0.277 | 0.394 | 0.266 | 0.219 | 0.298 |
| 2.4 | 0.258 | 0.368 | 0.251 | 0.210 | 0.270 |
| 2.5 | 0.239 | 0.342 | 0.234 | 0.198 | 0.245 |
| 2.6 | 0.219 | 0.316 | 0.215 | 0.183 | 0.222 |
| 2.7 | 0.198 | 0.290 | 0.197 | 0.166 | 0.201 |
| 2.8 | 0.178 | 0.265 | 0.181 | 0.147 | 0.183 |
| 2.9 | 0.158 | 0.241 | 0.167 | 0.127 | 0.168 |
| 3.0 | 0.138 | 0.219 | 0.158 | 0.106 | 0.156 |
| 3.1 | 0.120 | 0.198 | 0.154 | 0.086 | 0.147 |
| 3.2 | 0.103 | 0.179 | 0.155 | 0.067 | 0.140 |
| 3.3 | 0.089 | 0.162 | 0.160 | 0.049 | 0.137 |
| 3.4 | 0.076 | 0.147 | 0.167 | 0.032 | 0.136 |
| 3.5 | 0.066 | 0.133 | 0.174 | 0.019 | 0.136 |
| 3.6 | 0.057 | 0.121 | 0.180 | 0.009 | 0.138 |
| 3.7 | 0.051 | 0.111 | 0.184 | 0.007 | 0.140 |
| 3.8 | 0.046 | 0.103 | 0.185 | 0.010 | 0.143 |
| 3.9 | 0.042 | 0.096 | 0.184 | 0.012 | 0.145 |
| 4.0 | 0.039 | 0.090 | 0.181 | 0.011 | 0.147 |
| 4.1 | 0.037 | 0.086 | 0.177 | 0.011 | 0.147 |
| 4.2 | 0.036 | 0.083 | 0.172 | 0.014 | 0.147 |
| 4.3 | 0.038 | 0.081 | 0.167 | 0.022 | 0.146 |
| 4.4 | 0.043 | 0.080 | 0.164 | 0.033 | 0.143 |
| 4.5 | 0.051 | 0.082 | 0.164 | 0.045 | 0.140 |
| 4.6 | 0.061 | 0.086 | 0.168 | 0.059 | 0.135 |
| 4.7 | 0.073 | 0.092 | 0.176 | 0.072 | 0.129 |
| 4.8 | 0.085 | 0.099 | 0.186 | 0.085 | 0.121 |
| 4.9 | 0.096 | 0.108 | 0.197 | 0.095 | 0.113 |
| 5.0 | 0.107 | 0.117 | 0.208 | 0.104 | 0.103 |

Figure 14: Reference Temporal auto-correlation of CDL-C UMi beam 1 with ≤ 2.5 GHz.

Figure 15: Reference X2V Temporal auto-correlation of CDL-C UMi beam 1 with ≤ 2.5 GHz

Table 10. Reference Temporal auto-correlation of CDL-C UMi beam 1 > 2.5 GHz.

| lambdas | X2V | H11 | H21 | H12 | H22 |
| --- | --- | --- | --- | --- | --- |
| 0.0 | 1.000 | 1.000 | 1.000 | 1.000 | 1.000 |
| 0.1 | 0.995 | 0.997 | 0.994 | 0.994 | 0.997 |
| 0.2 | 0.982 | 0.987 | 0.978 | 0.977 | 0.987 |
| 0.3 | 0.961 | 0.973 | 0.953 | 0.951 | 0.972 |
| 0.4 | 0.935 | 0.955 | 0.921 | 0.917 | 0.953 |
| 0.5 | 0.905 | 0.935 | 0.884 | 0.877 | 0.931 |
| 0.6 | 0.871 | 0.912 | 0.842 | 0.832 | 0.907 |
| 0.7 | 0.834 | 0.887 | 0.795 | 0.783 | 0.880 |
| 0.8 | 0.793 | 0.860 | 0.745 | 0.728 | 0.850 |
| 0.9 | 0.749 | 0.831 | 0.693 | 0.671 | 0.817 |
| 1.0 | 0.704 | 0.800 | 0.639 | 0.612 | 0.782 |
| 1.1 | 0.658 | 0.768 | 0.587 | 0.552 | 0.745 |
| 1.2 | 0.612 | 0.735 | 0.536 | 0.494 | 0.706 |
| 1.3 | 0.568 | 0.701 | 0.489 | 0.439 | 0.666 |
| 1.4 | 0.525 | 0.666 | 0.447 | 0.389 | 0.624 |
| 1.5 | 0.485 | 0.631 | 0.410 | 0.346 | 0.583 |
| 1.6 | 0.448 | 0.598 | 0.380 | 0.310 | 0.542 |
| 1.7 | 0.415 | 0.565 | 0.355 | 0.282 | 0.502 |
| 1.8 | 0.385 | 0.533 | 0.335 | 0.261 | 0.463 |
| 1.9 | 0.358 | 0.503 | 0.319 | 0.247 | 0.426 |
| 2.0 | 0.335 | 0.474 | 0.305 | 0.238 | 0.391 |
| 2.1 | 0.313 | 0.445 | 0.291 | 0.231 | 0.357 |
| 2.2 | 0.293 | 0.418 | 0.278 | 0.224 | 0.325 |
| 2.3 | 0.274 | 0.391 | 0.264 | 0.217 | 0.295 |
| 2.4 | 0.255 | 0.365 | 0.248 | 0.208 | 0.267 |
| 2.5 | 0.236 | 0.339 | 0.231 | 0.197 | 0.241 |
| 2.6 | 0.216 | 0.313 | 0.213 | 0.182 | 0.218 |
| 2.7 | 0.195 | 0.287 | 0.194 | 0.165 | 0.197 |
| 2.8 | 0.175 | 0.262 | 0.178 | 0.146 | 0.179 |
| 2.9 | 0.154 | 0.238 | 0.164 | 0.126 | 0.164 |
| 3.0 | 0.135 | 0.215 | 0.156 | 0.105 | 0.153 |
| 3.1 | 0.116 | 0.195 | 0.152 | 0.085 | 0.144 |
| 3.2 | 0.100 | 0.176 | 0.153 | 0.065 | 0.138 |
| 3.3 | 0.085 | 0.159 | 0.159 | 0.048 | 0.135 |
| 3.4 | 0.073 | 0.144 | 0.166 | 0.032 | 0.135 |
| 3.5 | 0.063 | 0.130 | 0.173 | 0.018 | 0.136 |
| 3.6 | 0.055 | 0.119 | 0.180 | 0.010 | 0.138 |
| 3.7 | 0.049 | 0.109 | 0.184 | 0.010 | 0.140 |
| 3.8 | 0.044 | 0.101 | 0.185 | 0.013 | 0.143 |
| 3.9 | 0.041 | 0.094 | 0.185 | 0.014 | 0.145 |
| 4.0 | 0.038 | 0.089 | 0.182 | 0.013 | 0.147 |
| 4.1 | 0.035 | 0.084 | 0.178 | 0.012 | 0.148 |
| 4.2 | 0.034 | 0.081 | 0.173 | 0.014 | 0.147 |
| 4.3 | 0.036 | 0.079 | 0.168 | 0.020 | 0.146 |
| 4.4 | 0.040 | 0.078 | 0.165 | 0.031 | 0.143 |
| 4.5 | 0.048 | 0.080 | 0.164 | 0.043 | 0.140 |
| 4.6 | 0.058 | 0.083 | 0.168 | 0.056 | 0.135 |
| 4.7 | 0.070 | 0.089 | 0.175 | 0.070 | 0.128 |
| 4.8 | 0.082 | 0.096 | 0.185 | 0.082 | 0.121 |
| 4.9 | 0.093 | 0.105 | 0.196 | 0.093 | 0.112 |
| 5.0 | 0.104 | 0.114 | 0.207 | 0.101 | 0.101 |

Figure 16: Reference Temporal auto-correlation of CDL-C UMi beam 1 with > 2.5 GHz

Figure 17: Reference X2V Temporal auto-correlation of CDL-C UMi beam 1 with > 2.5 GHz

Table 11. Reference Spatial correlation of CDL-C UMi beam 1.

| 617 MHz |  |  | 722 MHz |  | 836.5 MHz |  | 1575.42 MHz |  | 1800 MHz |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Azim [°] |  | ¦r¦ beam 1 | Azim [°] | ¦r¦ beam 1 | Azim [°] | ¦r¦ beam 1 | Azim [°] | ¦r¦ beam 1 | Azim [°] | ¦r¦ beam 1 |
| 270.0 |  | 1.00 | 270.0 | 1.00 | 270.0 | 1.00 | 270.0 | 1.00 | 270.0 | 1.00 |
| 251.4 |  | 1.00 | 254.1 | 1.00 | 256.3 | 1.00 | 262.7 | 1.00 | 260.9 | 1.00 |
| 232.9 |  | 1.00 | 238.3 | 1.00 | 242.6 | 1.00 | 255.5 | 1.00 | 251.7 | 1.00 |
| 214.3 |  | 0.99 | 222.4 | 1.00 | 228.9 | 1.00 | 248.2 | 1.00 | 242.6 | 0.99 |
| 195.8 |  | 0.99 | 206.6 | 0.99 | 215.2 | 0.99 | 240.9 | 0.99 | 233.5 | 0.99 |
| 110.4 |  | 0.87 | 190.7 | 0.98 | 201.6 | 0.98 | 233.7 | 0.99 | 224.3 | 0.98 |
| 40.8 |  | 0.87 | 120.5 | 0.84 | 187.9 | 0.96 | 226.4 | 0.99 | 215.2 | 0.97 |
| 331.2 |  | 0.98 | 61.1 | 0.80 | 128.7 | 0.82 | 219.1 | 0.98 | 206.0 | 0.95 |
|  |  |  | 1.6 | 0.91 | 77.3 | 0.73 | 211.9 | 0.97 | 196.9 | 0.92 |
|  |  |  | 302.1 | 0.99 | 26.0 | 0.81 | 204.6 | 0.96 | 187.8 | 0.87 |
|  |  |  |  |  | 334.7 | 0.95 | 197.3 | 0.94 | 134.3 | 0.39 |
|  |  |  |  |  | 283.3 | 1.00 | 190.0 | 0.91 | 88.6 | 0.15 |
|  |  |  |  |  |  |  | 182.8 | 0.87 | 43.0 | 0.24 |
|  |  |  |  |  |  |  | 152.7 | 0.66 | 357.3 | 0.62 |
|  |  |  |  |  |  |  | 125.5 | 0.44 | 311.6 | 0.94 |
|  |  |  |  |  |  |  | 98.2 | 0.30 |  |  |
|  |  |  |  |  |  |  | 71.0 | 0.28 |  |  |
|  |  |  |  |  |  |  | 43.7 | 0.37 |  |  |
|  |  |  |  |  |  |  | 16.5 | 0.54 |  |  |
|  |  |  |  |  |  |  | 349.2 | 0.75 |  |  |
|  |  |  |  |  |  |  | 321.9 | 0.91 |  |  |
|  |  |  |  |  |  |  | 294.7 | 0.99 |  |  |
| 2132.5 MHz |  |  | 2450 MHz |  | 3600 MHz |  | 4700 MHz |  |
| Azim [°] | ¦r¦ beam 1 |  | Azim [°] | ¦r¦ beam 1 | Azim [°] | ¦r¦ beam 1 | Azim [°] | ¦r¦ beam 1 |
| 270.0 | 1.00 |  | 270.0 | 1.00 | 270.0 | 1.00 | 270.0 | 1.00 |
| 261.9 | 1.00 |  | 263.0 | 1.00 | 265.2 | 1.00 | 266.3 | 1.00 |
| 253.9 | 1.00 |  | 256.0 | 1.00 | 260.5 | 1.00 | 262.7 | 1.00 |
| 245.8 | 0.99 |  | 249.0 | 0.99 | 255.7 | 0.99 | 259.0 | 0.99 |
| 237.8 | 0.99 |  | 242.0 | 0.99 | 250.9 | 0.99 | 255.4 | 0.99 |
| 229.7 | 0.98 |  | 234.9 | 0.99 | 246.1 | 0.99 | 251.7 | 0.99 |
| 221.7 | 0.97 |  | 227.9 | 0.98 | 241.4 | 0.98 | 248.1 | 0.98 |
| 213.6 | 0.96 |  | 220.9 | 0.97 | 236.6 | 0.98 | 244.4 | 0.98 |
| 205.6 | 0.93 |  | 213.9 | 0.95 | 231.8 | 0.97 | 240.8 | 0.98 |
| 197.5 | 0.89 |  | 206.9 | 0.92 | 227.1 | 0.97 | 237.1 | 0.97 |
| 189.5 | 0.84 |  | 199.9 | 0.88 | 222.3 | 0.95 | 233.5 | 0.97 |
| 181.4 | 0.77 |  | 192.9 | 0.83 | 217.5 | 0.93 | 229.8 | 0.96 |
| 139.7 | 0.27 |  | 185.9 | 0.76 | 212.7 | 0.90 | 226.1 | 0.95 |
| 99.5 | 0.14 |  | 144.9 | 0.19 | 208.0 | 0.86 | 222.5 | 0.93 |
| 59.2 | 0.14 |  | 109.9 | 0.26 | 203.2 | 0.81 | 218.8 | 0.91 |
| 18.9 | 0.26 |  | 74.8 | 0.37 | 198.4 | 0.75 | 215.2 | 0.87 |
| 338.6 | 0.71 |  | 39.8 | 0.19 | 193.7 | 0.68 | 211.5 | 0.83 |
| 298.4 | 0.97 |  | 4.7 | 0.29 | 188.9 | 0.59 | 207.9 | 0.78 |
|  |  |  | 329.7 | 0.74 | 184.1 | 0.49 | 204.2 | 0.72 |
|  |  |  | 294.6 | 0.97 | 156.1 | 0.23 | 200.6 | 0.64 |
|  |  |  |  |  | 132.3 | 0.62 | 196.9 | 0.56 |
|  |  |  |  |  | 108.4 | 0.85 | 193.3 | 0.47 |
|  |  |  |  |  | 84.6 | 0.93 | 189.6 | 0.37 |
|  |  |  |  |  | 60.7 | 0.92 | 185.9 | 0.27 |
|  |  |  |  |  | 36.9 | 0.79 | 182.3 | 0.18 |
|  |  |  |  |  | 13.0 | 0.42 | 161.7 | 0.51 |
|  |  |  |  |  | 349.1 | 0.15 | 143.5 | 0.83 |
|  |  |  |  |  | 325.3 | 0.60 | 125.2 | 0.95 |
|  |  |  |  |  | 301.4 | 0.90 | 106.9 | 0.89 |
|  |  |  |  |  | 277.6 | 1.00 | 88.6 | 0.80 |
|  |  |  |  |  |  |  | 70.4 | 0.78 |
|  |  |  |  |  |  |  | 52.1 | 0.88 |
|  |  |  |  |  |  |  | 33.8 | 0.98 |
|  |  |  |  |  |  |  | 15.5 | 0.91 |
|  |  |  |  |  |  |  | 357.3 | 0.53 |
|  |  |  |  |  |  |  | 339.0 | 0.09 |
|  |  |  |  |  |  |  | 320.7 | 0.50 |
|  |  |  |  |  |  |  | 302.4 | 0.82 |
|  |  |  |  |  |  |  | 284.2 | 0.97 |

Figure 18: Reference Spatial correlation of CDL-C UMi beam 1.

Table 12: Reference V/H-ratios for CDL-C UMi

| UMi C, fc ≤ 2.5 GHz | Beam 1 | Input 1: V/H = -0.5 dB Input 2: V/H = 0.6 dB |
| --- | --- | --- |
|  | Beam 1 | Inputs 1+2: V/H = 0 dB |
| UMi C, fc > 2.5 GHz | Beam 1 | Input 1: V/H = -0.5 dB Input 2: V/H = 0.6 dB |
|  | Beam 1 | Inputs 1+2: V/H = 0 dB |

# Conclusion

The following observations and proposals were made in this contribution

Proposal 1: Adopt the averaged CDL-C UMa curves as reference channel emulation curves for validation purposes

Proposal 2: Adopt the averaged CDL-C UMi curves as reference channel emulation curves for validation purposes

# References

- R4-2108085, WF on NR MIMO OTA, vivo, CAICT, 3GPP TSG-RAN WG4 Meeting # 99-e, May 2021

- R4-2114382, Reference Channel Emulation Curves, Keysight Technologies UK Ltd, 3GPP TSG-RAN WG4 Meeting # 100-e, August 2021

- R4-2113858, Reference Channel Emulation Curves for FR1, CAICT, CMCC, 3GPP TSG-RAN WG4 Meeting # 100-e, August 2021

- R4-2113854, Channel Model Targets, Spirent Communications, 3GPP TSG-RAN WG4 Meeting # 100-e, August 2021

# Annex: Comparison between Keysight, Spirent, CMCC and the Resulting Average

This annex presents the reference curve comparisons between Keysight, Spirent, CMCC. Additionally, the resulting averages are shown as well.

CDL-C UMa

CDL-C UMi