3GPP TSG-RAN4 #101-e	R4-2xxxxxx

Electronic Meeting, 1st November – 12th November 2021

Title:	UL MIMO EVM simulations for TE dual-receiver using the overlapping PUSCH DMRS configuration

Source:			Anritsu Limited

Agenda Item:			9.1.1.2.

Document for:			Approval

# 1.	Introduction

In contribution [1] was shown EVM UL MIMO calculations based on the TE dual-receiver architecture using “Method 1” with LSE channel estimation over DMRS symbols. These simulations were performed using a non-overlapping PUSCH DMRS configuration.

This present contribution shows simulations using the overlapping PUSCH DMRS configuration as specified for UE conformance in [2], [3], [4] and compare them with equivalent simulations done using an non-overlapping PUSCH DMRS configuration in [1].

# 2.	Discussion

For UE conformance [2], it is indicated the use of antenna port(s) = “000” in Table 4.3.6.1.1.2-1 for the physical layer parameters for DCI format 0_1, corresponding to Value = 0 in Table 7.3.1.1.2-9 of [3] and then to DMRS ports = {0, 1}. Therefore, the allocation that should be used for UE conformance testing is an overlapping PUSCH DMRS configuration as described in Table 6.4.1.1.3-1 of [4].

Simulations performed using the overlapping DMRS allocation shown in Figure 2 present good agreement with simulations performed for the non-overlapping DMRS allocation presented in [1] and shown in Figure 1 below. The equivalent SNR over-estimation is under ±1dB corresponding to multiplying the actual EVM in % by a factor between 0.9 and 1.1.

Observation 1: The simulations using the overlapping PUSCH DMRS configuration as specified for UE conformance show similar performance as for the non-overlapping case.

| Figure 1 – EVM calculation error for Method 1, 16QAM modulation, H=I, 3 DMRS symbols/slot, non-overlapping DMRS allocation [1] | Figure 2 – EVM calculation error for Method 1, QPSK modulation, H=rotation, 3 DMRS symbols/slot, overlapping DMRS allocation |
| --- | --- |

Figure 3 below shows simulations for the 256QAM modulation (used in FR1), the over-estimation is quite high at low SNR but is totally fine at moderate and high SNR, the FR1 EVM specification [5] being 3.5% EVM (~29.1dB SNR), it seems totally fine for conformance testing.

Figure 3 – EVM calculation error for Method 1, 256QAM modulation, H=I and rotation, 3 DMRS symbols/slot, overlapping DMRS allocation

Observation 2: Method 1 can be used with overlapping PUSCH DMRS configuration as specified for UE conformance.

- Conclusion

Based on the discussion above, we propose the following:

Observation 1: The simulations using the overlapping PUSCH DMRS configuration as specified for UE conformance show similar performance as for the non-overlapping case.

Observation 2: Method 1 can be used with overlapping PUSCH DMRS configuration as specified for UE conformance.

Proposal: Confirm the use of Method 1 for both FR1 and FR2 under the conditions specified for UE conformance.

# 4.	References

[1]	R4-2111902, “Comparison of TSQ measurement methods for TE with dual pol Rx”, Qualcomm Incorporated, RAN WG4 #100-e, August 2021

[2] 38-508-1, “User Equipment (UE) conformance specification; Part 1: Common test environment”, version 17.1.0

[3] 38.212, “NR; Multiplexing and channel coding”, version 16.7.0

[4] 38.211, “NR; Physical channels and modulation”, version 16.7.0

[5] 38-101-1, “User Equipment (UE) radio transmission and reception; Part 1: Range 1 Standalone”, version 17.3.0