3GPP TSG-RAN WG4 Meeting # 106							     				 	     R4-2302882

Athens, Greece, 27 February –03 March, 2023

Agenda item:			9.16.6

Source:	Moderator (CAICT)

Title:	Ad-hoc minutes for MIMO OTA requirements

Document for:	Information

Introduction

This document contains meeting minutes and agreements reached during an ad-hoc meeting for Rel-18 MIMO OTA enhancement.

Topic #1: FR2 MIMO OTA

Open issues summary

Sub-topic 1-1 Framework for FR2 MIMO OTA

Issue 1-1-1: Time plan

Session Chair: Suggest not to discuss this issue at the ad-hoc meeting, to leave more time for companies to check the wording and offline discussions.

- Proposal: Approve the following time plan (R4-2301046).

  - 1. Finalize the framework and time plan for FR2 Lab Alignment Activity in RAN4 #106 (Feb 2023).

  - 2. Lab volunteers and PADs announced in RAN4#106 or via email-reflector before the starting of RAN4#106-bis-e (17 Apr 2023) are considered.

  - 3. Conclude lab volunteers, PADs’ information, and delivery scheme in RAN4#106-bis-e. PAD providers should make sure the PADs are ready by the end of RAN4#106-bis-e (26 Apr 2023). Lab Alignment Activity can start with the labs that have completed channel model validation, after RAN4#106-bis-e immediately, if ≥ 3 lab volunteers and [2-3] PADs are confirmed.

  - 4. Lab volunteers shall complete channel model validation before the starting of RAN4#108 (21 Aug 2023). The results shall be submitted to RAN4 by formal T-docs. Lab volunteer can share the validation results via email-reflector before submitting to RAN4 meetings, and then ask for PADs to participate in the Lab Alignment Activity.

  - 5. Collect all lab alignment measurement results from lab volunteers based on contribution-driven manner in RAN4#109 (Nov 2023). Conclude the lab alignment outcome in RAN4#109. Measurement Campaign can start after RAN4#109 immediately, if ≥ 3 labs are aligned.  (Lab volunteers that fail to complete PAD measurement and/or reach alignment at RAN4#109, if any, can have a chance to submit the PAD measurement results to RAN4#110 (Feb 2024) and be confirmed as aligned labs.)

  - 6. Companies are encouraged to prepare and purchase commercial devices for the Measurement Campaign as early as possible. Count the number of the commercial devices in RAN4 #108-bis-e (Oct 2023) to estimate how much measurement data can be collected. Providers should make sure the commercial devices are ready by the end of RAN4#109 (17 Nov 2023).

  - 7. Down-selection between the pure measurement approach and the hybrid approach should be done in RAN#109 (Nov 2023), based on the estimated amount of measurement data can be collected.

  - 8. Simulation Platform Validation Activity can start from RAN4#109 (Nov 2023), if ≥ 3 labs are aligned and the hybrid approach is selected. Complete the Simulation Platform Validation Activity by the end of RAN4#110 (Feb 2024). (If applicable)

  - 9. Collect measurement results of commercial devices from aligned labs based on contribution-driven manner in RAN4#110 (Feb 2024) and RAN4#111 (Apr 2024).

  - 10. Collect simulation results from validated simulation platforms based on contribution-driven manner in RAN4#111 (Apr 2024). (If applicable)

  - 11. Conclude FR2 MIMO OTA performance requirements at or before RAN4#112 (May 2024).

Issue 1-1-2: Down-selection between Pure measurement approach and Hybrid approach

Moderator: In the WID (R4-223509), the down-selection is suggested to be done before the completion of core part (Dec. 2023).

- Both Pure measurement approach and Hybrid of simulation and measurement approach will be considered for FR2 requirement definition - Note: Down-selection between pure measurement approach and hybrid of simulation and measurement approach is suggested to be done before the completion of core part.

- Options:

  - Option 1: Pure measurement-based approach should be adopted to define FR2 MIMO OTA requirements. (vivo)

  - Option 2: Down-selection between the pure measurement approach and the hybrid approach should be done in RAN#109 (Nov 2023), based on the estimated amount of measurement data can be collected. (CAICT)

  - Others

Discussions:

Vivo: too late to make the decision in the end of the year. Better to reach consensus earlier.

Apple: make the decision on May meeting.

QC: support Option 2. Encourage to make the decision as early as possible, but the ddl should be Nov. meeting.

Samsung: similar views with QC

Agreements:

Make the decision of the down-selection between the pure measurement approach and the hybrid approach as early as possible, the deadline is RAN4#109 (Nov 2023).

Issue 1-1-3: FR2 lab alignment activity

- Proposals:

  - Proposal 1: For FR2 lab alignment activity, at least 3 participating labs and 2~3 PADs for each band are required.  (CAICT, vivo, Qualcomm, Xiaomi)

  - Proposal 2: For PAD selection, focus more on NSA mode.

    - Option 1: Both SA and NSA can be adopted, but NSA is preferred. (CAICT)

    - Option 2: Only consider NSA mode UE in lab alignment campaign. (Samsung)

  - Proposal 3: to use 0.75*MU as the lab alignment pass/fail limit. (Xiaomi)

Discussions:

QC: NR-DC or NR-CA?

Samsung: NSA only means EN-DC. To align with the requirements development.

QC: Any type can be provided as PADs.

Samsung: MU should be decoupled with the SA mode, if SA UE used as PAD.

Agreements:

  - Proposal 1: For FR2 lab alignment activity, at least 3 participating labs and 2~3 PADs for each band are required.

  - Proposal 2: For PAD selection, focus more on NSA mode.

    - Both SA and NSA can be adopted, but NSA is preferred. NR-DC, NR-CA, and EN-DC can be the candidate.

    - If SA UE(s) used as PAD(s), MU should be decoupled with the SA mode.

  - FFS the lab alignment pass/fail limit.

Issue 1-1-4: Simulation Platform Validation Activity

- Proposals:

  - Proposal 1: Prototype UE shall be allowed for simulation platform validation. The simulation platform validation activity could be done in one of volunteered labs for validation activity (to prevent disclosing too much information of measurement device). (Qualcomm)

  - Proposal 2: The measurement results used for the simulation platform validation activity should be also from the aligned lab(s). (Huawei)

  - Proposal 3: Since the antenna system radiation patterns belong to UE implementation, it is difficult to be disclosed for the simulation campaign. (Huawei)

  - Proposal 4: RAN4 to adopt MASC as the pass/fail criteria for simulation platform validation. The limits of MASC for correlation between simulation and measurement is FFS. (Qualcomm)

  - Proposal 5: to use 1*MU as the pass/fail limit for simulation platform validation. (Xiaomi, CAICT)

Discussions:

Apple: Prototype UE should be allowed for simulation platform validation only if it is a PAD.

QC: Concern on the disclosure of the prototype information.

Apple: Cannot agree with P1. Don’t have confidence on the outcome.

Huawei: P3 is for information only.

Apple: The pass/fail limits for simulation validation should be the same as that for Lab alignment.

Agreements:

Proposal 2: The measurement results used for the simulation platform validation activity should be also from the aligned lab(s).

Proposal 4: RAN4 to adopt MASC as the pass/fail criteria for simulation platform validation. The limits of MASC for correlation between simulation and measurement is FFS.

Proposal 5: FFS the pass/fail limit for simulation platform validation. The pass/fail limit for simulation validation should be the same as that for Lab alignment.

Issue 1-1-5: Minimum number of measurement data for requirements development

Moderator: Based on GSA database, the total amount of UE models support n261 is 46.

- Proposals:

  - Proposal 1: For pure measurement approach, consider the minimum number of measurement device per band as

    - Option 1: [8] (Qualcomm)

    - Option 2: [8-10] (CAICT)

    - Option 3: 15 (vivo)

  - Proposal 2: If finally, the number of measurement results could not reach the minimum number, e.g., [8], RAN4 shall decide the FR2 MIMO OTA requirements based on the existing measurement results. (Qualcomm)

  - Proposal 3: For hybrid approach, select the same minimum number of measurement results, i.e., [8] as the minimum number of results. (Qualcomm)

Discussions:

Samsung: We need 15 models.

Vivo: similar views with Samsung. Need more time to check the number.

Apple: At least 15.

Samsung: At least 15.

QC: Ok to FFS. Keep the previous agreement [8-15].

Apple:

Keysight: 15 should be different UE models.

Issue 1-1-6: How to avoid the same UE model being tested multiple times in Measurement Campaign

- Proposals

  - Proposal 1: Consider to adopt similar approaches in R4-2220265 (WF for test device information collection for the measurement data pool from Rel-17 TRP TRS WI and Rel-17 FR1 MIMO OTA), i.e., identify a neutral observer to collect device pool information and handle the data of the same UE model. (CAICT)

  - Others

Discussions:

Keysight: The duty and working procedures of the observer should be specified.

Apple: the discussion outcomes of the Rel-17 TRP TRS can be reused.

Agreements:

Consider to adopt similar approaches in R4-2220265 (WF for test device information collection for the measurement data pool from Rel-17 TRP TRS WI and Rel-17 FR1 MIMO OTA), i.e., identify a neutral observer to collect device pool information and handle the data of the same UE model. The duty of the observer should be specified, consider to reuse the discussion outcomes of the Rel-17 TRP TRS.

Issue 1-1-7: Whether to require the proportion of single panel UE

Moderator: In the approved Framework (R4-2220611):

2.2.7 UE antenna panel assumption impact on performance requirements - RAN4 needs to study the impact of different UE implementation assumptions on the number of panels on MIMO OTA requirements - FFS how to accommodate different UE assumptions of number of panels for deriving MIMO OTA requirements

- Proposals: Whether to require the proportion of single panel UE

  - Proposal 1: For Measurement Campaign:

    - Option 1a: yes

    - Option 1b: no (Xiaomi, CAICT)

    - Option 1c: not mandatory, but encourage test labs to reflect whether single panel UE has been considered or not. (vivo)

  - Proposal 2: For Simulation Campaign:

    - Option 2a: yes

    - Option 2b: no (Xiaomi)

  - Proposal 3: For Simulation Platform Validation Activity:

    - Option 3a: yes

    - Option 3b: no (CAICT)

Discussions:

Apple: Add relaxation for the single panel UE on the top of the MIMO OTA requirements.

Samsung: Should firstly specify how to relax the requirement for single panel UE before removing the requirement on the proportion of single panel UE.

QC: In Rel15, one panel UE has not been considered.

Samsung: In Rel15, it is for SISO.

QC: Not to require the proportion of single panel UE.

Sub-topic 1-2 FR2 MIMO OTA requirement related work

Issue 1-2-1: Call for FR2 Performance Alignment Devices (PADs)

- Proposals

  - Proposal 1: Companies are encouraged to provide/purchase PADs for the FR2 MIMO OTA lab alignment activity. Please volunteer companies indicate in the table below:

| Company | How many PADs can be provided/ purchased | Note |
| --- | --- | --- |
| Huawei | One commercial device as PAD for lab alignment activity but not for simulation validation activity | Not to disclose any UE information except supported bands |

  - Proposal 2: Operators in the countries where FR2 has been commercially available are encouraged to provide UEs for the FR2 MIMO OTA lab alignment activity.

Issue 1-2-2: Call for volunteer labs for the FR2 MIMO OTA requirement related work

- Proposals

  - Proposal 1: Volunteer labs are encouraged to indicate in the table below:

| Companies are willing to provide measurement environments and efforts for Simulation Platform Validation Activity | Keysight, CMCC, CAICT, … |
| --- | --- |
| Companies are willing to participate in the Lab Alignment Activity | Apple, Huawei, CMCC, CAICT, ETS-Lindgren, … |
| Companies are willing to participate in the Measurement Campaign | Apple, Huawei, CMCC, CAICT, ETS-Lindgren, … |

Issue 1-2-3: FR2 MIMO OTA channel model validation results

Moderator: Up to now, 4 companies (Apple, CMCC, Huawei, Keysight) have provided their FR2 MIMO OTA channel model validation results.

- Proposal

  - Proposal 1: Apple fulfilled the requirements on validating FR2 MIMO OTA channel model on its volunteered lab, therefore shall be considered to move forward in the FR2 MIMO OTA Lab Alignment framework activities. (R4-2300354)

Agreements:

Apple, CMCC, and Huawei fulfilled the requirements on validating FR2 MIMO OTA channel model on their volunteered labs, therefore shall be considered to move forward in the FR2 MIMO OTA Lab Alignment framework activities.

Sub-topic 1-3 EN-DC band combination selection for FR2 MIMO OTA testing

Issue 1-3: EN-DC band combination selection for FR2 MIMO OTA testing

- Proposals (Samsung)

  - Proposal 1:	Focus on the performance of the NR carrier and do not consider multiple permutations between different LTE bands and NR band under test, i.e., for each NR band, only select one EN-DC band combination.

  - Proposal 2:	Down select the example LTE anchor band from B2, B4/66 and B5 for FR2 NSA UE MIMO OTA test. B66 is slightly preferred.

  - Proposal 3:	Further discuss the criteria on how to select the LTE anchor band in case UE does not support the example band combination.

Discussions:

Apple: Suggest to use the same decition tree as TRP TRS.

Xiaomi: Not sure if it is applicable for MIMO OTA.

Apple: Fine to FFS

Agreements:

  - Proposal 1:	Focus on the performance of the NR carrier and do not consider multiple permutations between different LTE bands and NR band under test, i.e., for each NR band, only select one EN-DC band combination.

  - Proposal 2:	Down select the example LTE anchor band from B2, B4/66 and B5 for FR2 NSA UE MIMO OTA test. FFS if B66 can be selected.

  - Proposal 3:	Further discuss the criteria on how to select the LTE anchor band in case UE does not support the example band combination.

  - FFS whether the same decition tree as TRP TRS can be used.

Topic #2: FR1 MIMO OTA

Open issues summary

Sub-topic 2-1 FR1 MIMO OTA testing with Hand phantoms

Several companies shared views and analysis on this topic (R4-2300140, R4-2301047, R4-2301460, R4-2301920, R4-2302518).  R4-2301047and R4-2301920 present some measurement results of UE performance with hand phantoms.

Issue 2-1-1: General views

- Proposals

  - Proposal 1: Confirm the necessity of the FR1 MIMO OTA test methodology enhancement for smartphone in browsing mode with hand phantom. (CAICT, OPPO, Xiaomi)

  - Proposal 2: In the absence of introducing another QZ/test zone, do not consider phantoms for NR FR1 MIMO OTA testing. (Keysight)

  - Proposal 3: Encourage companies to collect and analyse more measurement data in different cases, e.g., different frequencies, MIMO layers, DUT positions, etc., to further study the FR1 MIMO OTA test methodology for smartphone with hand phantom. (CAICT)

  - Others

Discussions:

Apple: Deprioritise the test methodology enhancement for hand phantoms.

Xiaomi: Different from TRS TRP. Browsing mode is common in MIMO OTA.

Samsung: Cannot confirm the necessity now.

Vivo: No need to repeat the same agreements of the last meeting.

Issue 2-1-2: Quite zone/Test zone size for FR1 MIMO OTA testing with phantoms

Moderator: in TR 38.327, the quiet zone is defined as a cylindrical with 20 cm diameter and 20 cm height. Suggest to firstly confirm if the quiet zone can accommodate the DUT with hand phantom.

- Proposals

  - Proposal 1: Confirm the feasibility of reusing the existing 20cm test zone size for FR1 MIMO OTA testing with hand phantoms. (CAICT, OPPO, Huawei)

  - Proposal 2: There is no need to increase the number of probes in anechoic chambers due to the presence of hand phantom in browsing mode. (Huawei)

  - Proposal 3: Adjust the WID to augment the existing 20 cm QZ/test zone with a 30 cm QZ if phantoms are considered for NR FR1 MIMO OTA testing. (Keysight)

  - Others

Discussions:

Huawei: The QZ size can accommodate the DUT with hand phantom.

Keysight: For DMP, it can accommodate. But for DMSU, not sure.

Apple: Check the impact of channel model validation.

Samsung: Need to further check the QZ size for DUT in DMP.

Vivo: Also depends on the size of DUT.

Huawei: DUT sizes can be accommodated. Channel model performance is not impacted.

Keysight: The device and the phantom shall be contained within the QZ.

Apple: DMP, DMSU, DML shall all be test and contained within the QZ.

Vivo:

Xiaomi: Related to FoM. Not sure whether all of DMP, DMSU, DML shall all be contained.

Issue 2-1-4: MU assessment for FR1 MIMO OTA testing with hand phantoms

- Proposals

  - Proposal 1: Send an LS to RAN5 to ascertain the MU value when the ensemble size of hand phantom and device exceeds the size of quiet zone. (Huawei) (Moderator: A draft LS is attached in R4-2300140.)

  - Others

Issue 2-1-3: FR1 MIMO OTA FoM for smartphone in browsing mode

Moderator: The Hand_DML mode cannot be configured with current hand phantom positioner.

Hand_DMP                                                  Hand_DMSU

- Proposals

  - Proposal 1: To further study how to reflect the MIMO performance degradation. (Xiaomi)

  - Proposal 2: RAN4 should define the FoM of FR1 MIMO OTA requirement for smartphone in hand phantom browsing mode. At least the sensitivity values in the four DUT positions, namely, HL DMP, HL DMSU, HR DMP, HR DMSU, should be included. (CAICT)

  - Proposal 3: To further study how to reflect the FS DML mode with hand phantom. (Xiaomi)

  - Others

Sub-topic 2-3 FR1 MIMO OTA requirement related work

Issue 2-3-1: Noise impact on MIMO OTA performance at low bands

Moderator’s note: R4-2301049 provides some measurement results to help analyse the impact of noise on MIMO OTA performance for band <1GHz.

- Proposals

  - Proposal 1: RAN4 should study low band noise issue. (vivo)

  - Proposal 2: Labs should first exclude the impact of noise before performing MIMO OTA measurements, especially for frequency bands <1GHz. (CAICT)

  - Others

Issue 2-3-2: FR1 MIMO OTA lab alignment activity and measurement campaign

Moderator’s note: In the WID, bands n1, n5, n8, n28, n77 are listed as the 1st priority for FR1 MIMO OTA requirements development. Bands n5, n8, n28 are lower than 1GHz

- Proposals

  - Proposal 1: Perform lab alignment activity for bands< 1GHz, to cross-validate the measurement results from different labs and ensure the validity of the data pool for requirements definition. (CAICT, vivo)

    - 1a: Perform lab alignment activity at n28. (vivo)

  - Proposal 2: For bands <1GHz (n5/n8/n28), measurement campaign should not start before concluding low-band lab alignment activity. (vivo)

  - Proposal 3: For bands >1GHz (n1/n77), no new lab alignment is needed, and measurement campaign can start among Rel-17 aligned labs at an early stage. (vivo)

  - Proposal 4: Discuss and conclude the framework and time plan for the lab alignment at RAN4#106-bis-e (Apr 2023). (CAICT)

  - Others

Topic #3: Rel-17 MIMO OTA maintance

  - Open issues summary

Sub-topic 3-1 FR1 channel model validation

Issue 3-1: Power validation pass/fail limits

- Proposals

  - Proposal 1: Adopt +/- 1dB of power validation limits for n41 and n78 frequency FR1 channel models. (CMCC)

  - Others

Sub-topic 3-2 FR2 channel model validation

Issue 3-2: FR2 channel model validation

- Proposals (based on Observations in R4-2300354)

  - Proposal 1: Consider to add on TS 38.151 a PDP target definition for an additional cluster at 0ns.

  - Proposal 2: Consider to add a time domain test method for the FR2 TCF similarly as for the one defined for FR1.

  - Proposal 3: Consider the to add an option to measure the EPRE Power Validation using a test equipment capable to decode the NR signal.