3GPP TSG-RAN WG4 Meeting #108bis	R4-2316227

Xiamen, China, October 09 – October 13, 2023

Title:	Noise impact of FR1 MIMO OTA for low band

Source:	OPPO

Agenda item:	5.16.5

Document for:	Discussion

- Introduction

In the last RAN4 #108 meeting, our lab was approved to join in the Rel-18 FR1 MIMO OTA lab alignment [1].

In the RAN4 #106 meeting, it was agreed that the noise impact in the chamber for low-band shall be studied by volunteer labs before MIMO OTA measurements.

This contribution presents OPPO lab’s noise impact evaluation results on Band n28.

- Discussion

The test system illustration of noise impact evaluation is shown below, in which the attenuators are added after each port of the amplifier. During the evaluation, the attenuators are switched with 10 dB step, i.e. 0dB, 10dB, 20dB, while other variables are kept unchanged.

The measurements are performed on Band n28 (780.5MHz), and the results are shown below.

From the above evaluation results, the similar phenomenon in the contribution of R4-2301049 [2] is found in our lab. The measurement results first get better and then become stable with the value of attenuation increasing. Comparing the traces of 10dB and 20dB, it is stable enough for low band MIMO OTA test. Therefore, we will adopt the 20dB attenuator in our lab for the bands with frequencies <1GHz.

Observation 1: The throughputs first get better and then become stable with the value of attenuation increasing.

Observation 2: 20dB attenuator can provide stable enough measurement results for OPPO’s MIMO OTA lab.

- Conclusions

In this paper, we show the evaluation results to clarify the noise impact at low bands.

Observation 1: The throughputs first get better and then become stable with the value of attenuation increasing.

Observation 2: 20dB attenuator can provide stable enough measurement results for OPPO’s MIMO OTA lab.

- References

[1] R4-2313900, WF for Rel-18 MIMO OTA, CAICT

[2] R4-2301049, On noise impact and FR1 lab alignment, CAICT