3GPP TSG RAN WG4 Meeting #88	R4-1801427

Gothenburg, Sweden, August 20th – 24th, 2018

Source: 	ETS-Lindgren

Title: 					Analysis and Correction of the Spherical Integration Formulation

Agenda Item: 			10.1.1

Document for:	Information

# 1 		Introduction

Recent reports of problems with integration of directional radiation patterns giving different answers based on orientation point to a problem with the numerical integration formulation adopted within CTIA and 3GPP.  This document revisits the spherical integrals and their conversion to numerical sums and shows a corrected approach to the numerical integral with an associated analysis of the resulting errors.

# 2	Discussion

Refer to the following attachment for the detailed presentation on this issue.

# 3	Conclusion and Recommendations

The attached paper demonstrates that the numerical integration formulation currently used for TRP/TRS testing is fundamentally flawed.  The new spherical surface area weighted formulation presented here provides a much more accurate approximation to the continuous integral using the same rectangular grid data points.  Since this method still allows for separate integration of phi cuts, it also still supports the use of theta dependent phi optimization.  It’s apparent that with a proper integration of the spherical surface, it is not necessary to switch to a more complicated data acquisition scheme, as accurate results can be obtained from a uniform grid measurement.  An analysis similar to this may also be used to evaluate the expected uncertainty for a given beamwidth/gain and grid resolution.