## Slide 1: WF on NR MU and test tolerance
CATR, Intel Corporation, Keysight Technologies, Rohde & Schwarz, Anritsu
3GPP TSG-RAN WG4 Meeting NR#3 R4-1709753
Nagoya, Japan 18 – 21 September, 2017
Agenda item: 3.6.2.2
Document for: Approval

## Slide 2: Downscope for UE RF MU
  The group will study the MUs as part of this SI at the highest frequency of the agreed range 2 frequency range, i.e., 43.5GHz (assumed to be the worst cases)
  It is agreed to RSS the standard uncertainties (1-sigma) in dB
  It is agreed to consider only traditional max output power[TRP/EIRP] and REFSENS [TRS/EIS] OTA MUs as part of this SI.
  The MU assumptions of this SI are based on a smartphone DUT [RAN4 #82bis R4-1704396] with max quiet zone size of 15cm in diameter

## Slide 3: MU for NR
MU budget table
  Companies are required to document the measurement setup, test procedures, calculation details, and underlying assumptions when example values are provided.
  The MU elements in the approved WF [R4-1706848] are the starting point for MU budget table.
Quite zone characterization
  A procedure for Quality of Quiet Zone is required. The procedure outlined in [R4-1709810] is used as a starting point.

## Slide 4: Next steps
Goal for RAN4#84bis
  Finalize the Quality of quiet zone procedure
  Finalize the MU elements for EIRP/EIS and TRP/TRS
Goal for RAN4#85
  Provide estimates for all MU elements
  Finalize MU budget for the agreed requirements