# 3GPP TSG-SA5 Meeting #149	S5-234061

# Berlin, Germany, May 22-26, 2023

# Source:	Samsung, Nokia

# Title:	Rel-18 pCR 28.829 6.3.3 Requirements clarification

# Document for:	Approval

Agenda Item:	6.9.2.9 (FS_NSOEU_WoP#9) Capture use cases, requirements for objective 3

# 1	Decision/action requested

The group is asked to discuss and approve the proposals.

# 2	References

None specific to this pCR.

# 3	Rationale

This pCR proposes clarifications to the requirements in TR 28.829, 6.3.3. Minor editorial errors are also corrected in this clause.

# 4	Detailed proposal

It is proposed to agree to the following change to TR 28.829, 1.1.0.

Begin Change

### 6.3.3	Potential requirements

This use case also has potential requirements 6.3.3-1 through 6.3.3-11. These requirements, if supported, enable the site operator to voluntarily discontinue service, retain UPS capacity, and wait until an opportune time to restore service. This is subject to operator policy, contractual obligations and regulatory restrictions.

For all the requirements below, supported interaction is described between the DSO and the MNO (or site operator). The reason for this term 'site operator' is that in network sharing scenarios, the base station and/or cell site may be operated by a third party. In active network sharing scenarios the DSO can communicate with an site operator that operates the site, but can be distinct from the serving site operator. The interaction described is really between the DSO and the management services of the entity that operates the site essential for telecommunication service, identified by the energy supply ID.

PR 6.3.3-1. 	The 3GPP management system should expose management services, subject to operator policy, to enable the DSO to provide the MNO (or site operator) with information concerning the expected restoration time of its distribution services for  site operator for effected sites.

PR 6.3.3-2. 	The 3GPP management system should support, subject to operator policy, the capability to enable the DSO to provide the MNO (or site operator) with information concerning the time when DSO restores its Energy “transmission” service. At this time the DSO needs the MNO’s (or site operator's) communication services to be able to use its automated smart energy services for rapid remote recovery of energy distribution services.

PR 6.3.3-3. 	The 3GPP management system should support, subject to operator policy, the capability to enable the DSO to provide the MNO (or site operator) with information concerning the time duration for which DSO expects to require MNO's (or site operator's) communication services to achieve coordinated recovery for being able to use smart energy services to restore its energy distribution services. The time that the DSO provides to the MNO (or site operator) can be adjusted as new information becomes available. The time estimate specifies which base stations are needed for the remote recovery operations.

PR 6.3.3-4. 	The 3GPP management system should support, subject to operator policy, the capability to enable the DSO to provide the MNO (or site operator) with information concerning the locations where for example DSO substations need to restore distribution services on priority. Location information expressing where restoration will occur could be expressed in terms such as latitude-longitude pairs or Energy Supply Id.

PR 6.3.3-5. 	The 3GPP management system should support, subject to operator policy, the capability to enable the site operator to provide the DSO with information concerning the time at which MNO (or site operator) would actually be able to provide communication services to achieve coordinated recovery of  DSO’s energy distribution services for a particular region.

PR 6.3.3-6. 	The 3GPP management system should support, subject to operator policy and other conditions, the capability to enable the MNO (or site operator) to provide DSO with information concerning the time duration for which MNO (or site operator) would actually be able to provide communication services to DSO to achieve coordinated recovery of DSO’s energy distribution services for a particular region.

PR 6.3.3-7. Authentication of the consumer (3rd party) by the producer (3GPP management system) shall be possible,

PR 6.3.3-8. Authentication of the producer (3GPP management system) by the consumer (3rd party) shall be possible.

PR 6.3.3-9. Authorization of the consumer (3rd party) by the producer (3GPP management system) shall be possible,

PR 6.3.3-10. Communication between the consumer (3rd party) and the producer (3GPP management system) shall be confidentially protected.

PR 6.3.3-11. Communication between the consumer (3rd party) and the producer (3GPP management system) shall be integrity protected.

PR 6.3.3-x. The 3GPP management system should support, subject to operator policy, the capability to enable the site operator to provide the DSO with information about locations where MNO (or site operator) will actually be able to provide dedicated communications services to achieve coordinated recovery of  DSO’s energy distribution services.

End of Changes