3GPP TSG SA WG 1 Meeting #111 	S1-253269r1

25-29 August 2025, Goteborg, Sweden

Source:	TNO

pCR Title:	New Use Case on critical communication infrastructure during a power black-out situations

Draft Spec:	TR 22.870

Agenda item:	8.1.2

Document for:	Approval

Contact:	jose.almodovarchico@tno.nl

Abstract: New use case to discuss what will the 6G system requires in a situation of black-out.

* * * First Change * * * *

## 5.6.x	Use case on critical communication infrastructure during a black-out situation

### 5.6.x.1	Description

The resilience of the 6G communication system should be addressed in case of significant/major electricity supply disturbance (e.g. black out) from the electricity grid. The impact from the electricity black out could vary in duration and size of the affected area with recent examples of having multiple countries affected e.g. Portugal, Spain and part of France on 28th April 2025 with a black-out duration of about 12 to 16 hours. Note that even though the telecommunication networks did not shut-down immediately after the black-out the daily lives were severely impacted and chaos was faced as wireless connectivity is intertwined in many critical societal operations (e.g. transportation, first-responders, payments, urgent/emergency basic human voice/text communication, etc.). Therefore, to minimize disruption of society in case of electricity supply failures, the 6G system should maximize the duration of the basic communication service provisioning related to these critical societal operations.

Note that this is different from other disaster scenarios where the impacted area of the 6G system is minimized, or the normal operation of the 6G system is restored as soon as possible.

Maximizing the duration of basic communication services provisioning in the affected area from the electricity black-out it must be the main objective in this situation. Thiscan be done by (gracefully) downgrading the number of available connectivity services as well as QoS degradation mechanisms, according to regulatory and operator policies. For example:

- The basic set of communication services from societal point of view are downgraded/stopped last.

- The 6G system will support many new services that are based on e.g. immersive gaming, AI/ML processing or ISAC that can be energy consuming and may need to be stopped or being heavily downgraded in the early

Finally, decreasing the signaling should be also explored for the case of service unavailability or heavy QoS degradation.

3PGPP has mechanisms (e.g., such Access Control, energy as s service mechanisms with energy rationing constrains) which applied in this situation may already help. Nevertheless, being the main objective the operability of the system and the importance of resilience in 6G, 3GPP may explore additional mechanisms to be applied during this special situation.

### 5.6.x.2	Potential new requirements needed to support the use case

[PR 5.6.x.2-1] Subject to regulatory requirements and operator’s policy, the 6G system shall support a set of mechanisms to maximize the operation of the system when rationing energy (e.g. using energy reserves) in a power-grid black-out situation.

* * * End Change * * * *