3GPP TSG SA WG 1 Meeting #112 	S1-254424

17-21 November 2025, Dallas, Texas, USA	(revision of S1-254125r2_was_ S1-254125)

Source:	Verizon, AT&T, Vodafone, Sony, Interdigital, Ericsson, Mediatek, EDF, Itron

pCR Title:	Pseudo-CR on updating utility use case in clause 11.25

Draft Spec:	3GPP TR 22.870-V0.4.1

Agenda item:	8.1.x

Document for:	Approval

Contact:	samita.chakrabarti@verizon.com

Abstract: Updating the KPI table for TR 22.870 clause 11.25 on monitoring Utility Transmission Grid assets

1. Introduction

The utility usecase described in clause 11.25 has a FFS requirement. This proposal is updating the table with the current findings.

2. Reason for Change

Updating data in table 11.25.6-1

3. Conclusions

<Conclusion part (optional)>

4. Proposal

It is proposed to agree the following changes to 3GPP TR 22.870-V0.4.1

Other changes for r2  updates:

- Add a column for data rate

- Add rows of usecases for different scenarios

- Change to transfer intterval

- Use message size

- Clarify battery life for each usecases

* * * First Change * * * *

### 11.25.5	Existing features partly or fully covering the use case functionality

3GPP Massive IoT communication via sensor UEs with NB-IoT or LTE-M RAT on 4G mostly.

For 5G system:

In TS 22.261 [14] clause 6.4 Resource efficiency states some general requirements for IoT devices.

In TS 22.261 [14] clause 8 Security, security requirement for IoT devices is listed.

In TS 22.261 [14] clause 6.28.2.2 describes Smart Grid requirements

TS 22.104 [64] Appendix A.4 also contains a number of Utility grid use cases.

However, the transmission line monitoring is a new area of measurement which can be possible with a variety of new generation of 6G IoT devices.

### 11.25.6	Potential New Requirements needed to support the use case

[PR 11.25.6-1] The 6G System shall ensure that IoT communication services shall minimize impact on other services (e.g. regular voice, video and data).

[PR 11.25.6-2] Subject to the Operator’s policies and control, the 6G system shall provide means to support extended coverage.

[PR 11.25.6-3] The 6G System shall support diverse device types with long lifetime (e.g. 10 to 20 years).

NOTE: 	3GPP should consider support of device lifetimes longer than the lifetime of the supporting 6G core network.

[PR 11.25.6-4] Subject to the Utility Operator’s and MNO policies, the 6G system shall support the communication services with the following KPI values for monitoring Utility transmission grid assets :

Table 11.25.6-1: KPI for monitoring Utility transmission grid assets

| Use cases |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | PeakData Rate Mbits/sec (Uplink) | Message size (Kbytes) |  | Transfer interval |  | End-to-end latency: maximum (ms) |  | Devices per km of transmission line |  | Reliability of the connection: target value |  | Communication service availability: target value |  |  | Battery life (years) |
| Monitoring Environment / Telemetry | [0.04] | [0.2 -0.4] |  | [1 min – 15min] NOTE1 |  | [100 – 500] |  | [10-15] |  | [99.999] |  | [99.999] |  |  | [10-20] |
| Monitoring vibration | [0.8] | [2 – 10] |  | [15 min – 60 min] NOTE1 |  | [100 – 500] |  | [5-15] |  | [99.999] |  | [99.999] |  |  | [10-20] |
| Monitoring Arching/partial voltage leak | [24] | [300] |  | [1min – 5min] NOTE2 |  | [5– 500] NOTE3 |  | [10-15] |  | [99.999] |  | [99.999] |  |  | [10-20] |
| Monitoring Grid assets & Photos on events | [24] | [150 -300] |  | [500 ms – 5min] |  | [100 - 500] |  | [10-15] |  | [99.999] |  | [99.999] |  |  | [10-20] |
| Monitoring Grid assets & videos on events | [200] | [ 300 – 2000] |  | [500 ms – 5 min] |  | [100 – 500] |  | [10-15] |  | [99.999] |  | [99.999] |  |  | [10-20] |
| NOTE1: Immediate transmission when a threshold is crossed NOTE2: Monitoring frequency varies depending on what is monitored and during which period of the year the voltage is monitored, Winter months are less frequent than summer months NOTE3 : 5–15 ms is required only when the operator chooses to use the network in a rapid protection loop |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |