## Slide 1
RWS-210511
Agenda Item: 4.2
Type: Discussion
Document for: Discussion
3GPP TSG RAN-Rel-18 workshop
June 28 – July 2, 2021
Smart Grid and Critical Infrastructure support in Release 18
Sources: Novamint,

## Slide 2
Distributed renewable energy generation and its place in reducing CO2 emissions
Huge increase in electric vehicle adoption
Peer to peer trading of electricity through smart phone apps
Dynamic rating and control of capacity limited assets (overhead lines, transformers)
Capability to re-start the grid in the event of a black-out utilizing distributed energy sources
The ability to maintain system stability & inertia via electronic means rather than electromechanical methods
The need for more efficiency coupled with control & visibility of devices at the edge of the network
Advanced smart metering systems (including real time demand side control) and LV (residential) monitoring
Key future challenges for Smart Grid (Source: EUTC)

## Slide 3
Source: China Telecom
Generation
Transmission
Distribution
Customers
Distributed
Energy
Resources
Telco focus
Utilities Model
Telco Business models / operations focus on:
Distribution
Consumption
Issues:
Ignore DG/DER
Ignore Transformation / Role of substations
Teleprotection not covered
Terminal vs Network
Utility model:
Many different structural models (regional)
Distributed Energy Resources connected to Distribution (not to the Transmission grid)
Transformation is part of Transmission and Distribution
Telco vs Utilities: 2 different visions for Smart Grid

## Slide 4
Many structural models for utilities and energy companies.
  Some are fully integrated, with generation, transmission, distribution, and customers.
  In other regions, businesses are divided between generation, TSO, DSO, and retail. (France)
  Various combinations of those structures possible.
The structure of the businesses forming the grid is important since that affects how the decisions regarding telecommunication solutions are made.
All domains of the grid require telecom, but the requirements are different, and the solutions might be different for a business of a subset of domains.
Smart Grid: Utilities Business structure
Source: EPRI

## Slide 5
Mapping of telecom services to grid segments not reflecting use cases,
  not all utilities have Transmission in their grids,
  some may consider a telecoms backbone network within their Distribution grid.
Focus on Distribution and Consumption segments = ignoring DG/DER = one of the biggest challenge for Utilities
Telecom see smart grid assets as “terminals of commercial mobile networks” (ignoring that what is a “terminal” for an operator can be part of a “network” for an utility)
Ignore Transformation and the role of the substations in the Distribution grid, including services outside the substation.
Tele protection not considered / not addressed well by Telcos
Smart Grid: Issues with Telecom views
Source: Iberdrola

## Slide 6
New & being built now => opportunity and requirement for new telecom.
Number of Power Stations/Substations x 1000 (compared to traditional models)
Mature grid systems such as transmission likely already have fibre installed.
Bulk power system transmission at 100 KV and up frequently incorporates fibre.
There is a larger opportunity for 5G, in particular URLLC, for sub-transmission domain below 100 KV, which are often used to interconnect large scale DER (wind/solar).
Applications such as Direct Transfer Trip and anti-islanding protection are well-suited use cases.
Coordination between Private and Public Network for Energy Recovery
Role of Satellite likely to be important to support DER
Smart Grid: DER one of the Biggest challenge

## Slide 7
Key enhancements for Smart Grid in Release 18
Item | Release 17 | Release 18
mMTC | - | MESH ?
IoT NTN | Minimum essential features for basic Asset monitoring | UE with no GNSS Idle mode power saving enhancements Critical & non delay tolerant use cases Regenerative payload
RedCap | First version can support some aspects of Smart Grid* | Enhancements to support more stringent KPIs
NR NTN | First version can support some aspects of Smart Grid* | Enhancements to support more stringent KPIs
URLLC | URLLC for industrial IoT over NR* | Enhancements to support more stringent KPIs
* Gap analysis needed to identify KPIs coming out of TR 22.867 not satisfied by R17
  Key objectives
  Gain remote control of grids / determine when & where there is a failure for quick repair
  Ensure consistent connectivity, even in remote areas / Deliver more reliable electricity to consumers