## Slide 1: 3GPP TSG-RAN WG4 RAN4-86 Athens, Greece, 26 February - 2 March, 2018
NTT DOCOMO, HUAWEI, NEC, KEYSIGHT
WF on MU of testing equipment for AAS BS and NR BS
R4-1803546

## Slide 2: Background (1)
During this meeting, there were number of contributions submitted [2-9] to discuss eAAS BS and NR BS radiated conformance requirements and derivation of the measurement uncertainties and test tolerance values.
Furthermore, in order to avoid parallel discussion on the radiated conformance testing for eAAS, NR FR1 as well as NR FR2, discussion on the relations among those tasks was discussed.
Set of Way Forward documents [10-13] were triggered based on the above discussion contributions.
Referring to AAS BS technical report in 3GPP TR 37.842 [1], there is set of uncertainty distributions and standard uncertainty (σ) values proposed by test vendors for the following test equipment:
  RF power measurement equipment,
  RF signal generator,
  Network analyzer.
Furthermore, uncertainty distributions and standard uncertainty (σ) values for the reference antenna were provided [1], which was derived as the maximum of companies' proposals.
Those inputs were used in Rel-13 for the derivation of the MU and TT values for the EIRP and EIS test requirements.
For reference, extract from [1] is provided in slide #3.
Notes: ΔfOOB

## Slide 3
Background (2)
Extract from 3GPP TR 37.842 [1]:

## Slide 4: Background (3)
Based on the extract in slide #3, the following is observed:
  1. Frequency range covered by the provided Standard uncertainty values is up to 4.2 GHz
  2. In case of the RF power measurement equipment the input power level is required to be > -70 dBm
In order to complete the eAAS BS and NR BS radiated requirements in Rel-15, MU budget for each OTA requirement needs to be completed.
To complete the above, there are further inputs required for the uncertainty distributions and standard uncertainty (σ) values for test equipment.
Notes: ΔfOOB

## Slide 5: Background (4)
Based on offline discussion, the following factor needs to be considered for the radiated conformance requirements derivation:
  Power measurement equipment
    Input power level
  Frequency measurement equipment
    Frequency range Modulation quality equipment
    EVM
  Time domain measurement equipment
    Time (Time alignment error, transient period)
  Network analyzer
    Transmission coefficient
    Reflection coefficient
  Signal generator
    Output level
    Frequency range
  Reference Antenna
    Gain
Notes: ΔfOOB

## Slide 6: WF agreement (1)
Based on the background discussion, testing equipment vendors are kindly encouraged to input standard uncertainty values and its probability distributions of testing equipment as listed on the following slides (NOTE: further inputs might be needed).
Test vendors inputs on the eAAS/NR FR1/NR FR2 measurement feasibility related to the requested inputs is highly encouraged.

## Slide 7: WF agreement (2)
The MU tables listed in the following slides are suggestion as a starting point and the following items are subject to the discussion with test vendors:
Fragmentation of the frequency range for FR1 an FR2 is FFS
Impact of the CH BW
Brake point of absolute power level
Absolute and relative power measurement
EVM window length for NR is under discussion

## Slide 8: WF agreement (3)
Inputs for BS testing purposes for eAAS and NR FR1:
Instrument | Use case | Measurement Uncertainty type | Standard uncertainty σ (dB) |  |  |  |  | Probability distribution
 |  |  | 30MHz < f ≦ 3 GHz | 3 GHz < f ≦ 4.2 GHz | 4.2 GHz < f ≦ 6 GHz | 6 GHz < f ≦ 12.75 GHz | [ 12.75 GHz < f ≦ 26 GHz] | 
RF power measurement equipment | Absolute power measurement (e.g. power meter) | Total amplitude accuracy (with input levels lower than ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | Gaussian
 |  | Total amplitude accuracy (with input levels down to ‑70 dBm) | 0.14 | 0.26 | TBD | TBD | TBD | Gaussian
 | Relative power measurement (e.g. spectrum analyzer) | Total amplitude accuracy (with input levels of wanted signal down to ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | Gaussian
Frequency measurement equipment | Frequency range measurement | Total amplitude accuracy (with input levels lower than ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | TBD
 |  | Total amplitude accuracy (with input levels down to ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | TBD
Modulation quality measurement equipment | EVM measurement | Total amplitude accuracy (with input levels lower than ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | TBD
 |  | Total amplitude accuracy (with input levels down to ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | TBD
Time domain measurement equipment | Time measurement | Total amplitude accuracy (with input levels lower than ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | TBD
 |  | Total amplitude accuracy (with input levels down to ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | TBD
RF signal generator | Sensitivity measurement | Level error | 0.46 | 0.46 | TBD | TBD | TBD | Gaussian
Network analyzer | Calibration stage | Accuracy of transmission measurements | 0.13 | 0.20 | TBD | TBD | TBD | Gaussian
Table 1: Test equipment uncertainty values
NOTE 1: according to SM.329, the upper limit of the Spurious range for the fundamental frequencies from 5.2-13 GHz range is: 26 GHz. The above proposed frequency fragmentation for the Spurious range subject to discussion for the BS conformance requirements.

## Slide 9: WF agreement (4)
Inputs for BS testing purposes for eAAS and NR FR1:
Instrument | Use case | Standard uncertainty σ (dB) |  |  |  |  | Probability distribution
 |  | f ≦ 3GHz | 3GHz < f ≦ 4.2 GHz | 4.2 GHz < f ≦ 6 GHz | 6GHz< f ≦ 12.75 GHz | [12.75 GHz < f ≦ 26 GHz] | 
Reference antenna | Calibration stage | 0.29 | 0.25 | TBD | TBD | TBD | Rectangular
Table 2: Reference antenna uncertainty values
NOTE 1: according to SM.329, the upper limit of the Spurious range for the fundamental frequencies from 5.2-13 GHz range is: 26 GHz. The above proposed frequency fragmentation for the Spurious range subject to discussion for the BS conformance requirements.

## Slide 10: WF agreement (5)
Inputs for BS testing purposes for NR FR2:
  Proposed granularity of the FR2 frequency range for the measurement uncertainty
    NOTE: refer to the FR1 granularity to be defined in the following two bands:
    f ≦ 3 GHz
    3 GHz < f ≦ 4.2 GHz
    [4.2 GHz < f ≦ 6 GHz]
  Preferences on the band specific MU values vs. frequency range specific values are encouraged.

## Slide 11: WF agreement (6)
Inputs for BS testing purposes for NR FR2:
Instrument | Use case | Measurement Uncertainty type | Standard uncertainty σ (dB) |  |  |  |  | Probability distribution
 |  |  | Inband/ OoB |  |  | Spurious range |  | 
 |  |  | f.range #1 | … | f.range #n | … | [ f ≦ 60 GHz] | 
RF power measurement equipment | Absolute power measurement (e.g. power meter) | Total amplitude accuracy (with input levels lower than ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | TBD
 |  | Total amplitude accuracy (with input levels down to ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | TBD
 | Relative power measurement (e.g. spectrum analyzer) | Total amplitude accuracy (with input levels of wanted signal down to ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | TBD
Frequency measurement equipment | Frequency range measurement | Total amplitude accuracy (with input levels lower than ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | TBD
 |  | Total amplitude accuracy (with input levels down to ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | TBD
Modulation quality measurement equipment | EVM measurement | Total amplitude accuracy (with input levels lower than ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | TBD
 |  | Total amplitude accuracy (with input levels down to ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | TBD
Time domain measurement equipment | Time measurement | Total amplitude accuracy (with input levels lower than ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | TBD
 |  | Total amplitude accuracy (with input levels down to ‑70 dBm) | TBD | TBD | TBD | TBD | TBD | TBD
RF signal generator | Sensitivity measurement | Level error | TBD | TBD | TBD | TBD | TBD | TBD
Network analyzer | Calibration stage | Accuracy of transmission measurements | TBD | TBD | TBD | TBD | TBD | TBD
Table 3: Test equipment uncertainty values
NOTE 1: upper limit of the FR2 spurious range is based on the tentative agreed on the practical measurable emissions, i.e. [60 GHz].
NOTE 2:The above proposed frequency fragmentation for inband/OoB, and the Spurious range subject to discussion for the BS conformance requirements.

## Slide 12: WF agreement (7)
Inputs for BS testing purposes for NR FR2:
Instrument | Use case | Standard uncertainty σ (dB) |  |  |  |  | Probability distribution
 |  | Inband/OoB |  |  | Spurious range |  | 
 |  | f.range #1 | … | f.range #n | ... | [ f ≦ 60 GHz] | 
Reference antenna | Calibration stage | TBD | TBD | TBD | TBD | TBD | TBD
Table 4: Reference antenna uncertainty values
NOTE 1: upper limit of the FR2 spurious range is based on the tentative agreed on the practical measurable emissions, i.e. [60 GHz].
NOTE 2:The above proposed frequency fragmentation for inband/OoB, and the Spurious range subject to discussion for the BS conformance requirements.

## Slide 13: References
[1] 3GPP TR 37.842, v14.0.0
[2] R4-1803384 Plan for conformance specification drafting (eAAS), Huawei
[3] R4-1802960 Discussion on TX OTA conformance requirements (eAAS), Huawei
[4] R4-1802476 On general aspects related to OTA testing (eAAS), Ericsson
[5] R4-1802964 Transmitter OTA directional conformance requirements (eAAS), Huawei
[6] R4-1802557 TP to TR 37.843: Conformance testing for directional requirements (eAAS), Ericsson
[7] R4-1802965 Transmitter OTA in-band TRP conformance requirements (eAAS), Huawei
[8] R4-1802886 On uncertainty values for EIRP measurement for anechoic chamber test method (eAAS), NTT DoCoMo
[9] R4-1802961 Discussion on Rx OTA conformance requirements (eAAS), Huawei
[10] R4-1803391 WF on directional transmitting requirements (eAAS), Huawei
[11] R4-1803393 WF on directional Rx requirements (eAAS), Nokia
[12] R4-1803392 WF on TRP requirements (eAAS), Ericsson
[13] R4-1803388 WF on TR structure for section 10 (eAAS), Huawei