3GPP TSG RAN WG5 Meeting #100 	R5-234555

Toulouse, France, 21 – 25 August 2023

Source:		Rohde & Schwarz

Title:	AC MU Analysis for NR FR1 TRP-TRS (Rel.17)

Agenda Item:		5.3.26.2

Document for:	Discussion and Endorsement

# Introduction

Following the closure of the work item led by RAN4 for NR FR1 TRP-TRS, a new RAN5 work item was approved to define the corresponding NR FR1 TRP-TRS test specification TS 38.561 [1]. The aim of this contribution is to progress on the MU assessment work for TS 38.561 [1].

# MU contributors in TR 38.561

Following the progress made during past few meetings, Annex A.4 of TS 38.561 [1] contains the MU calculation principles, the list of MU contributors, the description for each MU contribution and preliminary uncertainty budgets for hand only (browsing mode), copied from the Annex B of TR 38.884 [2] which was updated from TS 37.544 [3] based on RAN5 work [4][5].

Given the limited timeline to finalize the MU work for TR 38.884 [2], the effort was focused on most critical updates to MU descriptions and overall clean-up, but there was not a detailed analysis of each of the values used to derive the example expanded uncertainty.

Following the agreed MU assessment framework [6] for TS 38.561 [1], Table 2-1 and Table 2-2 present the list of uncertainty contributors, for TRP and TRS respectively, extracted from TS 38.561 [1] with an additional status column to reflect the items that:

- The description was updated from TS 37.544.

- The example uncertainty value was updated from TS 37.544.

- The uncertainty value need to or could be revised.

- New values/analysis provided for TS 38.561

Table 2-1: Uncertainty contributions in TRP measurement for anechoic chamber method (Table A.4.3.1-1 of TS 38.561 [1])

| UID | Description of uncertainty contribution | Details in clause | Status |
| --- | --- | --- | --- |
| Stage 2: DUT measurement |  |  |  |
| 1 | Mismatch of receiver chain | A.4.2.1 | b). The value was updated to show the right probability distribution. c). The assumptions to derive the value (i.e. 0dB cable attenuation) does not seem realistic. |
| 2 | Insertion loss of receiver chain | A.4.2.2 | - |
| 3 | Influence of the measurement antenna cable | A.4.2.3 | - |
| 4 | Measurement Receiver: uncertainty of the absolute level | A.4.2.4 | c). The value could be updated to reflect the performance of state-of-the-art equipment d). Value and distribution updated in [7][8] |
| 5 | Measurement distance | A.4.2.7 | a) and b) to reflect the impact of the change in minimum range length definition |
| 6 | Quality of quiet zone | A.4.2.8 | a). c). The value could be updated to reflect realistic performance from labs with the revised definition. |
| 7 | DUT Tx-power drift | A.4.2.9 | c). The definition and value were not updated from TS 37.544, which refer to studies performed for 3G UEs. |
| 8 | Uncertainty related to the use of phantoms | A.4.2.11 | c). The definition and value could be updated to cover new hand phantoms (i.e. wide grip hand) |
| 9 | Coarse sampling grid | A.4.2.12 | c). The definition and value were not updated from TS 37.544, which refer to studies performed for 3G UEs. |
| 10 | Random uncertainty | A.4.2.13 | c). The definition and value were not updated from TS 37.544, which refer to old studies. |
| 11 | Frequency Response | A.4.2.14 | a). This term was new compared to TS 37.544 |
| Stage 1: Calibration measurement, network analyzer method |  |  |  |
| 12 | Uncertainty of network analyzer | A.4.2.15 | c). The value could be updated to reflect the performance of state-of-the-art equipment |
| 13 | Mismatch of receiver chain | A.4.2.1 | - |
| 14 | Insertion loss of receiver chain | A.4.2.2 | - |
| 15 | Mismatch in the connection of calibration antenna | A.4.2.1 | - |
| 16 | Influence of the calibration antenna feed cable | A.4.2.3 | c). The value could be updated to reflect realistic performance from labs. |
| 17 | Influence of the measurement antenna cable | A.4.2.3 | - |
| 18 | Uncertainty of the absolute gain/ radiation efficiency of the calibration antenna | A.4.2.16 | c). The value could be updated to reflect the performance of state-of-the-art equipment |
| 19 | Measurement distance | A.4.2.7 | a) and b) to reflect the impact of the change in minimum range length definition |
| 20 | Quality of the Quiet Zone | A.4.2.8 | a). c). The value could be updated to reflect realistic performance from labs with the revised definition. |

Table 2-2: Uncertainty contributions in TRS measurement for anechoic chamber method (Table A.4.4.1-1 of TS 38.561 [1])

| UID | Description of uncertainty contribution | Details in clause | Status |
| --- | --- | --- | --- |
| Stage 2: DUT measurement |  |  |  |
| 1 | Mismatch of transmitter chain | A.4.2.1 | b). The value was updated to show the right probability distribution. c). The assumptions to derive the value (i.e. 0dB cable attenuation) does not seem realistic. |
| 2 | Insertion loss of transmitter chain | A.4.2.2 | - |
| 3 | Influence of the measurement antenna cable | A.4.2.3 | - |
| 4 | Communication Tester: uncertainty of the absolute output level | A.4.2.5 | c). The value could be updated to reflect the performance of state-of-the-art equipment d). Distribution updated in [7][8] |
| 5 | Sensitivity measurement: output level step resolution | A.4.2.6 | b) to reflect the minimum step used for sensitivity search. |
| 6 | Measurement distance | A.4.2.7 | a) and b) to reflect the impact of the change in minimum range length definition |
| 7 | Quality of quiet zone | A.4.2.8 | a). c). The value could be updated to reflect realistic performance from labs with the revised definition. |
| 8 | DUT sensitivity drift | A.4.2.10 | c). The definition and value were not updated from TS 37.544, which refer to studies performed for 3G UEs. |
| 9 | Uncertainty related to the use of phantoms | A.4.2.11 | c). The definition and value could be updated to cover new hand phantoms (i.e. wide grip hand) |
| 10 | Coarse sampling grid | A.4.2.12 | c). The definition and value were not updated from TS 37.544, which refer to studies performed for 3G UEs. |
| 11 | Random uncertainty | A.4.2.13 | c). The definition and value were not updated from TS 37.544, which refer to old studies. |
| 12 | Frequency Response | A.4.2.14 | a). This term was new compared to TS 37.544 |
| Stage 1: Calibration measurement, network analyzer method |  |  |  |
| 13 | Uncertainty of network analyzer | A.4.2.15 | c). The value could be updated to reflect the performance of state-of-the-art equipment |
| 14 | Mismatch of transmitter chain | A.4.2.1 | - |
| 15 | Insertion loss of transmitter chain | A.4.2.2 | - |
| 16 | Mismatch in the connection of calibration antenna | A.4.2.1 | - |
| 17 | Influence of the calibration antenna feed cable | A.4.2.3 | c). The value could be updated to reflect realistic performance from labs. |
| 18 | Influence of the measurement antenna cable | A.4.2.3 | - |
| 19 | Uncertainty of the absolute gain/radiation efficiency of the calibration antenna | A.4.2.16 | c). The value could be updated to reflect the performance of state-of-the-art equipment |
| 20 | Measurement distance | A.4.2.7 | a) and b) to reflect the impact of the change in minimum range length definition |
| 21 | Quality of quiet zone | A.4.2.8 | a). c). The value could be updated to reflect realistic performance from labs with the revised definition. |

For those marked with c) were no additional analysis has been provided, further review of additional MU values is presented in next sections.

# MU values analysis

## Mismatch of receiver/transmitter chain (A.4.2.1)

As shown in Table 2-1 and Table 2-2 above, the values were corrected to show the right probability distribution, but they are derived assuming:

- For TRP

  - 0dB cable attenuation.

  - Гpower meter < 0.05, reflection coefficient for power meter.

  - Гmeasurement antenna <0.16, reflection coefficient for the measurement antenna.

- For TRS

  - 0dB cable attenuation.

  - ГCommTester <0.13, reflection coefficient for the communication tester.

  - Г antenna connection <0.03, reflection coefficient for the measurement antenna.

Obviously, the 0dB cable attenuation is an unrealistic case but the remaining assumptions for the reflection coefficient of the relevant elements in the measurement chain also require to be update to reflect existing test system implementations for NR FR1.

Starting with the measurement antenna and looking at available technical specifications for antennas used in OTA test systems from several vendors, the typical VSWR values range from 2.0 to 3.0. The reflection coefficient can be calculated then using the formula:

Γ=VSWR-1VSWR+1

and the worst-case value VSWR found, Γmeasurement antenna=0.5

Doing a similar exercise to find reference VSWR values from several TE vendors, the measurement receiver (for TRP) and the communication tester (for TRS) show the following results:

VSWRreceiver<2.0 ; Γreceiver=0.33

VSWRcomm tester<1.8 ; Γcomm tester=0.29

The final element to obtain the reference mismatch uncertainty value is the cable attenuation, which may vary considerably between different test system implementations. Even though, the previous assumption of 0dB just makes the corresponding mismatch uncertainly unrealistic. Therefore, we propose to use 3dB instead to consider a reasonable worst case for the mismatch uncertainty.

Using these assumptions, the example values for mismatch uncertainty are:

- For TRP, Umismatch=0.26dB

  - Γmeasurement antenna=0.5

  - Γreceiver=0.33

  - 3dB cable attenuation

- For TRS, Umismatch=0.22dB

  - Γmeasurement antenna=0.5

  - Γcomm tester=0.29

  - 3dB cable attenuation

Proposal 1: update the example values for mismatch uncertainty to 0.26dB and 0.22dB for TRP and TRS respectively in TS 38.561 and TR 38.870.

## Communication Tester: uncertainty of the absolute output level (A.4.2.5)

During last meeting it was agreed to revise the probability distribution this uncertainty term based on the fact that typical performance is reported as expanded uncertainty. At the same time, it was encouraged for TE vendors to confirm if the example value currently in the tables (i.e. 1dB) is adequate to reflect the performance of state-of-the-art equipment for NR FR1.

Looking at available technical specifications for communication testers used in OTA test systems from several vendors, it can be seen that the value could be reduced to 0.85dB, assuming actual distribution. This value would include not only the output level uncertainty, but also factors in the linearity and the frequency response for wideband signals.

Proposal 2: update the example value for Communication Tester: uncertainty of the absolute output level to 0.85dB in TS 38.561 and TR 38.870.

## Uncertainty related to the use of phantoms (A.4.2.11)

This term was highlighted for a potential update to cover new hand phantoms (i.e. wide grip hand) but the existing definition of the measurement uncertainty term in A.4.2.11 of TS 38.561 [1] does not change between different types of hand phantoms. Therefore, it is proposed to keep current definition and example MU values.

Proposal 3: keep existing definition and example values for the Uncertainty related to the use of phantoms in TS 38.561.

## Uncertainty of network analyzer (A.4.2.15)

For the network analyzer, 0.5dB uncertainty value is considered in the example tables assuming a rectangular distribution, although typical performance in the vector network analyzers datasheet is expressed as expanded uncertainty. Therefore, it is proposed to change the probability distribution to actual and assume the 0.5dB uncertainty value was defined with k=2, thus consider 0.25dB as standard uncertainty.

Proposal 4: consider an actual distribution for the Uncertainty of network analyzer.

Proposal 5: update the example value for the Uncertainty of network analyzer to 0.25dB in TS 38.561 and TR 38.870.

## Remaining MU contributors without updated analysis

The following MU terms have been marked as recommended for the example value or the description to be updated, but no contributions have been provided:

- Quality of quiet zone (A.4.2.8)

- DUT Tx-power/sensitivity drift (A.4.2.9/A.4.2.10)

- Coarse sampling grid (A.4.2.12)

- Random uncertainty (A.4.2.13)

- Influence of the calibration antenna feed cable (A.4.2.3)

- Uncertainty of the absolute gain/radiation efficiency of the calibration antenna (A.2.16)

Given the workplan approved in [6], it is expected to confirm all values in order to finalize the MU work for TS 38.561 [1]. Therefore, and unless new analysis is provided by other companies for the MU contributors listed above, it is proposed to keep the existing descriptions and example values inherited from TR 38.834 [2] and TS 37.544 [3], and remove all the square brackets.

Proposal 6: keep descriptions and example MU values inherited from TR 38.834 and TS 37.544 for the following MU terms and remove all the square brackets:

- Quality of quiet zone (A.4.2.8)

- DUT Tx-power/sensitivity drift (A.4.2.9/A.4.2.10)

- Coarse sampling grid (A.4.2.12)

- Random uncertainty (A.4.2.13)

- Influence of the calibration antenna feed cable (A.4.2.3)

- Uncertainty of the absolute gain/radiation efficiency of the calibration antenna (A.2.16)

# Conclusion

In this contribution, the following observations and proposals were made:

Observation 1: no progress can be made this meeting regarding the MU impact analysis for forearm phantom and carrier aggregation testing until further progress is made in RAN4.

Proposal 1: update the example values for mismatch uncertainty to 0.26dB and 0.22dB for TRP and TRS respectively in TS 38.561 and TR 38.870.

Proposal 2: update the example value for Communication Tester: uncertainty of the absolute output level to 0.85dB in TS 38.561 and TR 38.870.

Proposal 3: keep existing definition and example values for the Uncertainty related to the use of phantoms in TS 38.561.

Proposal 4: consider an actual distribution for the Uncertainty of network analyzer.

Proposal 5: update the example value for the Uncertainty of network analyzer to 0.25dB in TS 38.561 and TR 38.870.

Proposal 6: keep descriptions and example MU values inherited from TR 38.834 and TS 37.544 for the following MU terms and remove all the square brackets:

- Quality of quiet zone (A.4.2.8)

- DUT Tx-power/sensitivity drift (A.4.2.9/A.4.2.10)

- Coarse sampling grid (A.4.2.12)

- Random uncertainty (A.4.2.13)

- Influence of the calibration antenna feed cable (A.4.2.3)

- Uncertainty of the absolute gain/radiation efficiency of the calibration antenna (A.2.16)

The proposals in this contribution are implemented in the associated Text Proposal [9].

# References

- 3GPP TS 38.561 v0.3.0 (June 2023)

- 3GPP TR 38.834 v17.2.0 (September 2022)

- 3GPP TS 37.544 v16.2.0 (September 2021)

- R5-221623, “TP to TR 38.834 for Annex B MU tables”, MVG Industries, Rohde & Schwarz, 3GPP TSG RAN5 Meeting #94-e, February 2022

- R5-221624, “TP to TR 38.834 on MU General section and descriptions”, Rohde & Schwarz, MVG Industries, 3GPP TSG RAN5 Meeting #94-e, February 2022

- R5-227881, “MU contributors and workplan for NR FR1 TRP-TRS (Rel.17)”, Rohde & Schwarz, 3GPP TSG RAN5 Meeting #97, November 2022

- R5-232586, “AC MU Analysis for NR FR1 TRP-TRS (Rel.17)”, Rohde & Schwarz, 3GPP TSG RAN5 Meeting #99, May 2023

- R5-233677, “MU values for NR FR1 TRP-TRS”, Rohde & Schwarz, 3GPP TSG RAN5 Meeting #99, May 2023

- R5-234556, “TP to TS 38.561 on MU contents”, Rohde & Schwarz, 3GPP TSG RAN5 Meeting #100, August 2023