3GPP TSG-RAN WG4 Meeting # 103-e 	R4-2208673

# Electronic Meeting, May 09 – May 20, 2022

| CR-Form-v12.2 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DRAFT CHANGE REQUEST |  |  |  |  |  |  |  |  |
|  | 38.151 | CR | - | rev | - | Current version: | 17.0.0 |  |
| For HELP on using this form: comprehensive instructions can be found at http://www.3gpp.org/Change-Requests. |  |  |  |  |  |  |  |  |

| Proposed change affects: | UICC apps |  | ME | X | Radio Access Network |  | Core Network |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Title: | Draft CR on TS 38.151 for MU of FR2 MIMO OTA |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Source to WG: | Qualcomm Incorporated |  |  |  |  |  |  |  |  |  |
| Source to TSG: | R4 |  |  |  |  |  |  |  |  |  |
| Work item code: | NR_MIMO_OTA-Core |  |  |  |  |  | Date: |  |  | 2022-04-25 |
| Category: | B |  |  |  |  |  | Release: |  |  | Rel-17 |
|  | Use one of the following categories: F (correction) A (mirror corresponding to a change in an earlier release) B (addition of feature), C (functional modification of feature) D (editorial modification) Detailed explanations of the above categories can be found in 3GPP TR 21.900. |  |  |  |  |  |  |  | Use one of the following releases: Rel-8 (Release 8) Rel-9 (Release 9) Rel-10 (Release 10) Rel-11 (Release 11) … Rel-16 (Release 16) Rel-17 (Release 17) Rel-18 (Release 18) Rel-19 (Release 19) |  |
| Reason for change: |  | Adding the preliminary MU of FR2 3D-MPAC system. As agreed in WF on NR MIMO OTA (R4-2207300), initial MU budget for FR2 MIMO OTA 3D-MPAC system in R4-2207301 is agreeable as a starting point. |  |  |  |  |  |  |  |  |
| Summary of change: |  | Adding the preliminary MU for FR2 MIMO OTA 3D-MPAC system. |  |  |  |  |  |  |  |  |
| Consequences if not approved: |  | The MU budget for FR2 MIMO OTA 3D-MPAC system is missing in TS 38.151. |  |  |  |  |  |  |  |  |
| Clauses affected: |  | B.2.5 |  |  |  |  |  |  |  |  |
|  |  | Y | N |  |  |  |  |  |  |  |
| Other specs |  |  | X | Other core specifications |  |  |  | TS/TR ... CR ... |  |  |
| affected: |  |  | X | Test specifications |  |  |  | TS/TR ... CR ... |  |  |
| (show related CRs) |  |  | X | O&M Specifications |  |  |  | TS/TR ... CR ... |  |  |
| Other comments: |  |  |  |  |  |  |  |  |  |  |
| This CR's revision history: |  |  |  |  |  |  |  |  |  |  |

---Start of changes---

## B.2.5	Preliminary MU of FR2 3D-MPAC system

<Editor’s note: Detailed structure of the subclause is TBD. >

This clause defines the Preliminary measurement uncertainty (MU) budget for FR2 3D-MPAC system, as shown in Table A.2.5-1.

Table B.2.5-1: Preliminary measurement uncertainty budget for FR2 3D-MPAC system

| UID | Description of uncertainty contribution | Example value (26.5GHz≤f≤29.5GHz) | Example value (37GHz ≤f≤40GHz) | Distribution of the probability |
| --- | --- | --- | --- | --- |
| Stage 2: DUT measurement |  |  |  |  |
| 1 | Mismatch for measurement process | [1.30] | TBD | [Actual] |
| 2 | Measure distance uncertainty | [0.15] | TBD | [Rectangular] |
| 3 | Quality of quiet zone | [1.20] | TBD | [Actual] |
| 4 | Base Station simulator | TBD | TBD | [Normal] |
| 5 | Channel Emulator -absolute value -stability -linearity | TBD | TBD | Normal |
| 6 | Amplifier uncertainties | [2.10] | TBD | [Normal] |
| 7 | Random uncertainty | [0.50] | TBD | [Normal] |
| 8 | Throughput measurement: output level step resolution | [0.25] | TBD | Rectangular |
| 9 | DUT sensitivity drift | TBD | TBD | Rectangular |
| 10 | Signal flatness | TBD | TBD | Normal |
| 11 | Mismatch for calibration process - loopback cable path - system input path - reference antenna | [0.00] | TBD | U-Shaped |
| 12 | Reference antenna positioning misalignment | [0.00] | TBD | [Rectangular] |
| 13 | Quality of quiet zone | [0.6] | TBD | [Actual] |
| 14 | Total uncertainty of the Network Analyzer | [0.73] | TBD | [Normal] |
| 15 | Uncertainty of an absolute gain of the calibration antenna | [0.6dB] | TBD | [Normal] |
| 16 | Offset of the Phase Center of the Reference Antenna | [0.47] | TBD | [Rectangular] |

---End of changes---