3GPP TSG-RAN WG4 Meeting #104-e	R4-2213575

# Electronic Meeting, August 15th-26th, 2022

# Title:	Discussion on SAN Testing Environment

# Source:	THALES

# Type:	Discussion

# Document for:	Information

# Agenda Item:	9.11.3.1.3

Release	Rel-17

# Introduction

The following Satellite 5G NR (Non-Terrestrial Networks) technical documents have been approved at the 3GPP RAN-Plenary #96 (Budapest, 6th-9th of June 2022) for the Release-17 NTN satellite connectivity using FR1 S-band (n256) and FR1 L-band (n255):

- Technical Specification TS 38.108 (NR; Satellite Node radio transmission and reception);

- Technical Specification TS 38.101-5 (NR; User Equipment (UE) radio transmission and reception; Part 5: Satellite access Radio Frequency (RF) and performance requirements);

- Technical Report TR 38.863 (Non-terrestrial networks (NTN) related RF and co-existence aspects);

This contribution therefore provides material for discussion on how to handle satellite conformance testing (see TS 38.181 and TS 38.108) as part of NTN Rel-17 WI.

# Discussion

Conformance testing is an important part of 3GPP work, and is currently under work in TS 38.181. This section is to discuss the testing conditions for Satellite Access Node (SAN) with the requirements described in TS 38.108.

First, there is a different classification of clean room, according to different ISO standards. This classification can be seen in the table below.

| Controlled Parameters | Room Type/Clean Room Classification |  |  |  |
| --- | --- | --- | --- | --- |
|  | ISO Class 8 Class 100 000 | ISO Class 7 Class 10 000 | ISO Class 6 Class 1000 | ISO Class 5 Class 100 |
| Temperature (in C°) | 22°±3 | 22°±3 | 22°±3 | 22°±3 |
| Relative Humidity (in %) | 55±10 | 55±10 | 55±10 | 55±10 |
| Minimum Overpressure between Clean Room and Surrounding Area (Pascal) | 12 | 12 | 12 | 12 |
| Minimum Overpressure between Clean Room and Entry Lock (Pascal) | 5 | 5 | 5 | 5 |
| Maximum Number of Particles with Dimension > 0,5 µm per m3 | 3 520 000 | 352 000 | 35 200 | 3 520 |
| Maximum Number of Particles with Dimension > 5 µm per m3 | 29 300 | 2 930 | 293 | 29 |

Proposal 1: SAN conformance testing may take place in a clean room of up to ISO class of 8.

Proposal 2: For testing purposes, the SAN components can be located in several rooms with different classes.

# Conclusions

Proposal 1: SAN conformance testing may take place in a clean room of up to ISO class of 8.

Proposal 2: For testing purposes, the SAN components can be located in several rooms with different classes.

# References

- TS 38.108, Rel-17

- TS 38.181, Rel-17

-END-