3GPP TSG-RAN WG4 Meeting #88bis                             R4-1812552

Chengdu, CN, 8th – 12th Oct, 2018

Source:	CMCC

Title:	Discussion of the MU for FR2 extreme condition test

Agenda Item:	7.9.4.3.1.1

Document for:	Discussion

- Introduction

In the last meeting, the MU for FR1 extreme condition test [1] and FR2 for normal condition [2] are approved. This contribution proposes to give a discussion for the MU for FR2 extreme condition test.

- Discussion

The EIRP accuracy for FR2 extreme condition is settled to be 4.5dB, which is larger number. And the MU for the FR1 extreme condition test is 2.5dB (<3GHz) and 2.6dB (3-6GHz). It can be see that even if the FR1 and FR2 share the same MU, the final EIRP accuracy for FR2 extreme condition test will be larger than 7.1dB. 3dB means half power reduction; 6dB means 3/4of the power reduction. If the MU is larger than 7dB, that means more than 3/4of the PAs do not produce power, but the device still pass the extreme condition test. This test is meaningless.

In WF [2], the MU for FR2 normal condition of EIRP accuracy is 1.7dB (28GHz), 2.0dB (39GHz). During the discussion of this WF, an excel with all the issues have relationship the EIRP accuracy MU is also formed.

2.1 EIRP accuracy MU budget for FR2 normal condition

In WF [2], the MU for FR2 normal condition of EIRP accuracy is 1.7dB (28GHz), 2.0dB (39GHz). During the discussion of this WF, an excel with all the issues have relationship the EIRP accuracy MU is also formed.

| UID | Uncertainty Source | Uncertainty value | Uncertainty value | Distribution of the probability | Divisor based on distribution shape | ci | Standard uncertainty ui [dB] | Standard uncertainty ui [dB] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 24.25<f | 37<f |  |  |  | 24.25<f | 37<f |
|  |  | <29.5GHz | <40GHz |  |  |  | <29.5GHz | <40GHz |
| Stage 2: DUT measurement |  |  |  |  |  |  |  |  |
| 1 | Misalignment DUT & pointing error | 0.2 | 0.2 | Exp. normal | 2 | 1 | 0.1 | 0.1 |
| 2 |  | 0.5 | 0.7 | Gaussian | 1 | 1 | 0.5 | 0.7 |
|  | RF power measurement equipment (e.g. spectrum analyzer, power meter) |  |  |  |  |  |  |  |
| 3 | Standing wave between DUT and test range antenna | 0.03 | 0.03 | U-shaped | 1.41 | 1 | 0.03 | 0.03 |
| 4 | RF leakage, test range antenna cable connector terminated. | 0.01 | 0.01 | Normal | 1 | 1 | 0.01 | 0.01 |
| 5 | QZ ripple with DUT | 0.4 | 0.4 | Normal | 1 | 1 | 0.4 | 0.4 |
|  | Frequency flatness | 0.25 | 0.25 |  |  |  | 0.25 | 0.25 |
| Stage 1: Calibration measurement |  |  |  |  |  |  |  |  |
| 6 | Network Analyzer | 0.3 | 0.3 | Normal | 1 | 1 | 0.3 | 0.3 |
| 7 | Uncertainty of return loss (S11) measurement of SGH and test receiver (VNA) ports | 0.43 | 0.57 | U-shaped | 2 | 1 | 0.21 | 0.26 |
| 8 | Insertion loss variation in receiver chain | 0 | 0 | Rectangular | 1.73 | 1 | 0 | 0 |
| 9 | RF leakage, test range antenna cable connector terminated. | 0.01 | 0.01 | Normal | 1 | 1 | 0.01 | 0.01 |
| 10 | Influence of the calibration antenna feed cable | 0.21 | 0.29 | U-shaped | 1.41 | 1 | 0.15 | 0.2 |
| 11 | SGH Calibration uncertainty | 0.52 | 0.52 | Rectangular | 2 | 1 | 0.25 | 0.25 |
| 12 | Misalignment positioning system | 0 | 0 | Exp. normal | 2 | 1 | 0 | 0 |
| 13 | Misalignment SGH and pointing error | 0 | 0 | Exp. normal | 2 | 1 | 0.25 | 0.25 |
| 14 | Rotary joints | 0 | 0 | U-shaped | 1.41 | 1 | 0 | 0 |
| 15 | Standing wave between SGH and test range antenna | 0.09 | 0.09 | U-shaped | 1.41 | 1 | 0.06 | 0.06 |
| 16 | QZ ripple with SGH | 0.009 | 0.009 | Normal | 1 | 1 | 0.009 | 0.009 |
| 17 | Switching uncertainty | 0.1 | 0.1 | Rectangular | 1.73 | 1 | 0.1 | 0.1 |

It seems that the entire budget can keep as it is to be reused for extreme condition MU evaluation except for the QZ ripple with DUT.

It is assumed that environmental chamber radome will affect the QZ ripple with DUT. But for FR2 base station, whose size is much smaller than that of sub 6GHz, the environmental chamber radome will also much smaller compared to the quite zone of the chamber. So the QZ ripple with DUT for extreme condition should keep the same value as normal condition.

2.2 Special MU budget issue for FR2 extreme condition

In WF [3], three issues are involved:

1) Radome loss variation over temperature

2) Wet radome loss variation over temperature

3) Absorber behavior variation over temperature

In contribution [4], the value for these three value are sugested below:

| Uncertainty Source | Uncertainty value | Distribution | Divisor | Std uncertainty |
| --- | --- | --- | --- | --- |
| Radome loss variation | 0.15 | Rectangular | √3 | 0.07 |
| Wet radome loss variation | 1.0 | U-shaped | √2 | 0.707 |
| Change in absorber behaviour (temperature + moisture) | 2.25 | U-shaped | √2 | 1.59 |

It can figure out that the Wet radome loss variation is affected by the wet in the environmental chamber. But for smaller environmental chamber, the wet is much easier to be removed compared to sub 6GHz. The value for FR1 is 0.95, so the value for FR2 should be 0.8. Again, as the environmental chamber is much smaller than the OTA chamber, temperature and wet effect for the absorber behaviors is much less the sub 6GHz.  The value for FR1 is 0.1, so the value for FR2 should be 0.1.

2.3 MU budget for FR2 extreme condition

According to the discussion, the whole budget for the MU should be:

| UID | Uncertainty source | Uncertainty value | Uncertainty value | Distribution of the probability | Divisor based on distribution shape | ci | Standard uncertainty ui [dB] | Standard uncertainty ui [dB] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 24.25<f<29.5 GHz | 37<f<40 GHz |  |  |  | 24.25<f<29.5 GHz | 37<f<40 GHz |
| Stage 2: DUT measurement |  |  |  |  |  |  |  |  |
| 1 | Misalignment DUT & pointing error | 0.2 | 0.2 | Exp. normal | 2 | 1 | 0.1 | 0.1 |
| 2 | RF power measurement equipment (e.g. spectrum analyzer, power meter) | 0.5 | 0.7 | Gaussian | 1 | 1 | 0.5 | 0.7 |
| 3 | Standing wave between DUT and test range antenna | 0.03 | 0.03 | U-shaped | 1.41 | 1 | 0.021277 | 0.02128 |
| 4 | RF leakage, test range antenna cable connector terminated. | 0.01 | 0.01 | Normal | 1 | 1 | 0.01 | 0.01 |
| 5 | QZ ripple with DUT | 0.4 | 0.4 | Normal | 1 | 1 | 0.4 | 0.4 |
| X1 | radome loss variation | 0.15 | 0.15 | Rectangular | 1.73 | 1 | 0.086705 | 0.08671 |
| X2 | wet radome loss variation | 0.8 | 0.8 | U-shaped | 1.41 | 1 | 0.567 | 0.567 |
| X3 | Change in absorber behavior | 0.1 | 0.1 | U-shaped | 1.41 | 1 | 0.071 | 0.071 |
| X4 | Feasibility of calibration over temperature | 0.25 | 0.25 | Normal | 1 | 1 | 0.25 | 0.25 |
| Stage 1: Calibration measurement |  |  |  |  |  |  |  |  |
| 6 | Network Analyzer | 0.3 | 0.3 | Normal | 1 | 1 | 0.3 | 0.3 |
| 7 | Uncertainty of return loss (S11) measurement of SGH and test receiver (VNA) ports | 0.43 | 0.57 | U-shaped | 1.41 | 1 | 0.304965 | 0.40426 |
| 8 | Insertion loss variation in receiver chain | 0 | 0 | Rectangular | 1.73 | 1 | 0 | 0 |
| 9 | RF leakage, test range antenna cable connector terminated. | 0.01 | 0.01 | Normal | 1 | 1 | 0.01 | 0.01 |
| 10 | Influence of the calibration antenna feed cable | 0.21 | 0.21 | U-shaped | 1.41 | 1 | 0.148936 | 0.14894 |
| 11 | SGH Calibration uncertainty | 0.52 | 0.52 | Rectangular | 1.73 | 1 | 0.300578 | 0.30058 |
| 12 | Misalignment positioning system | 0 | 0 | Exp. normal | 2 | 1 | 0 | 0 |
| 13 | Misalignment SGH and pointing error | 0 | 0 | Exp. normal | 2 | 1 | 0 | 0 |
| 14 | Rotary joints | 0 | 0 | U-shaped | 1.41 | 1 | 0 | 0 |
| 15 | Standing wave between SGH and test range antenna | 0.09 | 0.09 | U-shaped | 1.41 | 1 | 0.06383 | 0.06383 |
| 16 | QZ ripple with SGH | 0.009 | 0.009 | Normal | 1 | 1 | 0.009 | 0.009 |
| 17 | Switching uncertainty | 0.1 | 0.1 | Rectangular | 1.73 | 1 | 0.057803 | 0.0578 |
| Combined standard uncertainty (1σ) [dB] |  |  |  |  |  |  | 1.06 | 1.20 |
| Expanded uncertainty (1.96σ - confidence interval of 95 %) [dB] |  |  |  |  |  |  | 2.07 | 2.34 |

The calculated MU should be 2dB (24.25<f<29.5) GHz and 2.3dB (37<f<40 GHz)

- Conclusion

After analysis, we find out that the MU for FR2 extreme condition should be 2dB (24.25<f<29.5) GHz and 2.3dB (37<f<40 GHz). After added with the EIRP accuracy requirement for extreme condition which is 4.5dB, the final figure is larger than 6dB.

We think calibration over temperature to reduce all the related MU budget is needed. And keeping the MU a lower figure to make this test makes sense.

- References

[1] R4-1811769, WF on EIRP in extreme conditions for eAAS and NR FR1, NOKIA

[2] R1-1811772, WF on MU and TT for transmission in-band TRP emission and directional requirements for FR2, Ericsson

[3] R4-1811675, WF on MU and TT for extreme EIRP for FR2, NOKIA

[4] R4-1810852,EIRP accuracy under extreme conditions in FR2,, NOKIA