3GPP TSG-RAN5 Meeting #92-e	R5-215580
Electronic Meeting, 16 August – 27 August 2021

Agenda item:	5.3.2.17

Source:	Keysight Technologies

Title:	On Vendor Declaration Related to Antenna Aperture D for DFF

Document for:	Discussion and Endorsement

# Introduction

This contribution is addressing the details of the antenna aperture D declaration for DFF methodologies.

# Discussion

The IFF methodology does not require any vendor declaration in terms of the antenna apertures, D, integrated inside of the DUT, e.g., clause B.2.4.1 of [1]

The applicability criteria of this test method are: - The total test volume, i.e., the quiet zone is defined as a sphere with radius R. - DUT must fit within the quiet zone for the entire duration of the test. - Either a single radiating aperture, multiple non-coherent apertures or multiple coherent apertures DUTs can be tested. - No manufacturer declaration of the antenna array size is needed.

On the other hand, since the range lengths of the DFF-based systems depend on the antenna apertures, D, i.e., Clause B.2.2.4 of [1]

With this setup, the minimum range length, RDFF, can be determined as RDFF = RQZ – D/2 + RFF = RQZ – D/2 + 2D2/

it was well understood that such systems (DFF, hybrid DFF/IFF) could not support arbitrary antenna apertures, e.g., Table 1 outlines the required range lengths for DFF systems supporting a 30cm QZ. Clearly, systems with range lengths of >> 1m are impractical and not feasible due to the low PSD testability issues.

Table 1: DFF Range Lengths for 30cm QZ DFF Systems

| f [GHz] D [cm] | 24.25 | 30 | 40 | 43.5 | 52.6 |
| --- | --- | --- | --- | --- | --- |
| 2 | 0.20 | 0.22 | 0.25 | 0.26 | 0.28 |
| 3 | 0.28 | 0.32 | 0.38 | 0.40 | 0.45 |
| 4 | 0.39 | 0.45 | 0.56 | 0.59 | 0.69 |
| 5 | 0.53 | 0.63 | 0.79 | 0.85 | 1.00 |
| 7.5 | 1.02 | 1.24 | 1.61 | 1.74 | 2.09 |
| 10 | 1.72 | 2.10 | 2.77 | 3.00 | 3.61 |
| 15 | 3.72 | 4.58 | 6.08 | 6.60 | 7.97 |
| 20 | 6.52 | 8.06 | 10.72 | 11.66 | 14.09 |

To date, radiating aperture declarations have not been captured in [4] mainly because the de-facto IFF methodology for UE RF did not require any. Since some focus has shifted towards the DFF methodology for RRM 2 AoA test cases, it is important to define the vendor declaration of the radiation aperture.

Observation 1: Radiating aperture declarations have not been captured in 38.508-2.

Observation 2: Since some focus has shifted towards the DFF methodology for RRM 2 AoA test cases, it is important to define the vendor declaration of the radiation aperture in 38.508-2.

In RAN5#90-e, discussions on various declaration options were held [5][6] and subsequently an Action Point was created which was kept open for a couple meetings following no consensus on this topic [7][8].

Action ID; sWG; Action; Responsible; Relevant Tdoc; Deadline; Status. AP#90e.21; RF; Group To provide feedback on which antenna aperture declaration to incorporate in TS38.508-2 for DFF methodology: --- Option 1: UE vendor declares the exact maximum radiation aperture of any of the panels integrated in the UE --- Option 2: UE vendor declares whether the maximum radiation aperture of any of the panels integrated in the UE is ≤5cm or not -propose any other option; Anritsu, Apple, Huawei, KEYS; R5-210839 R5-211194 R5-212957 R5-212959 R5-213249/50; RAN5#91e; Open.

Option 1 would allow UE vendors to declare the actual antenna aperture of the largest antenna panel integrated in the UE. In the past, UE vendors have been very reluctant to declare detailed antenna information which led to the adoption of the black-box instead of the white-box approach in RAN4. Allowing vendors to declare the actual apertures or select a maximum supported aperture (Option 3 discussed during RAN5#90-e), e.g., D ≤ 2.5cm, D ≤ 3.5cm, D ≤ 4cm, D ≤ 4.5cm, etc., could allow system vendors to design systems with smaller footprint. However, for labs this approach will lead to limited applicability of devices, i.e., labs can only support a limited subset of PC3 devices and would have to decline business for a certain set of devices due to insufficient range length.

Systems with smaller range lengths were shown to have worse QoQZ MU results as tabulated in Table 2, i.e., the assessed MUs of systems designed for a subset of D ≤ 5cm apertures will generally yield higher MUs which is rather undesirable. More importantly, deploying such smaller systems with larger QoQZ MU while meeting existing MTSU limits, could prevent a successful MU evolution [9] as vendors might be hesitant to agree to smaller/evolved MTSU. While the MU evolution was primarily focused on UE RF, it included RRM as well and any antenna aperture declaration in [4] would automatically be applicable to UE RF as well as RRM and not just limited to RRM.

Table 2: Overview of DFF QoQZ MU for different range lengths

| TE Vendor | Range Length [m] | Frequency [GHz] ►► | 23.450 | 32.125 | 40.800 |
| --- | --- | --- | --- | --- | --- |
| Vendor A R5-206167 | 0.65 | P1-P7 | 1.34 | 1.37 | 1.37 |
|  |  | P1 only | 0.30 | 0.17 | 0.25 |
| Vendor A R5-210840 | 0.94 | P1-P7 | 1.10 | 1.13 | 1.05 |
|  |  | P1 only | 0.34 | 0.32 | 0.32 |
| Vendor B R5-206075 | 1.05 | P1-P7 | 0.79 | 0.87 | 0.99 |
|  |  | P1 only | 0.20 | 0.07 | 0.13 |

Table 3 shows the impact of the antenna aperture on the min. required range length for a DFF system for two sample frequencies and two sample antenna apertures, i.e., D=2.5cm and D=5cm. It should be pointed out that these calculations determine the FF conditions for the DUT placed inside a fixed QZ size with an antenna aperture of D. It is assumed that the DUT is also in the FF of the probe antenna which for a DUT antenna aperture D of 5cm was a safe assumption. Clearly, a reduction of D shows that range lengths below 40 or 30cm could be achieved; however, those range lengths no longer guarantee that the DUT is in the FF of the probe antenna, i.e., NF effects would have to be considered.

Observation 3: The QoQZ MU was shown to increase for DFF systems with smaller range lengths

Table 3: Overview of DFF range lengths for different antenna apertures D for a 30cm QZ

| Frequency [GHz] | D [cm] | RDFF [m] |
| --- | --- | --- |
| 24 | 5 | 0.53 |
|  | 2.5 | 0.24 |
| 49 | 5 | 0.94 |
|  | 2.5 | 0.34 |

Observation 4: FF conditions for the probe antenna cannot be guaranteed for range lengths determined for very small antenna apertures D of the DUT antenna array.

With the recent introduction of larger QZs, i.e., 40cm and 55cm, existing IFF systems designed for 30cm QZ size can readily support the 40cm QZ while some changes might be required to support the 55cm QZ. However, the applicability of existing DFF systems designed for 30cm QZ size to larger QZ sizes is no longer guaranteed given the need to increase the chamber size/range length based on the RDFF equation provided earlier. More importantly, the QoQZ performance is expected to degrade more rapidly for larger QZs given the larger free-space path loss differences and directivity MUs for DFF systems.

While RAN5 has adopted an optional vendor declaration for test time reduction purposes based on a worst-case 4x2 antenna configuration, the LS from RAN4 to RAN5 [10] clearly stated to leave the “system-related assumptions” as is instead of adopting them for the optional antenna configuration.

- To reduce the impacts on RAN5 test spec, the system-related assumptions are kept unchanged in RAN5, i.e., based on the previously agreed worst case 8x2 assumptions. … - It is furthermore proposed for RAN5 to keep all system-related assumptions, e.g., related to max antenna aperture of D=5cm for PC3, based on the 8x2 antenna array assumptions.

The range length of OTA test systems is certainly a “system-related assumption.”

The alternate vendor declaration (Option 2) would prevent UE vendors from declaring detailed antenna panel information and allow a rather simple declaration whether or not the antenna aperture D is ≤ 5cm or not. The benefit of this approach is that it would be aligned with the PC3 definitions of the DUT antenna configuration limits and the applicability definition of DFF in [1]. Additionally, it might not be entirely clear how the antenna aperture is defined by OEMs. More importantly, this approach would be better suited for MU evolution purposes as the lack of systems with smaller range lengths and larger QoQZ MU could allow vendors to more readily agree to evolved MUs/MTSUs.

Some of the pros and cons of these approaches are summarized in Table 4.

Table 4: Overview of Pros and Cons of the various declaration options

| Declaration | Pros | Cons |
| --- | --- | --- |
| Option 1: Of exact maximum radiation aperture of any of the panels integrated in the DUT | - Allows test systems with smaller range lengths for certain DUTs | - UE vendors reluctant to declare detailed antenna information - Lack of clarity how exactly the aperture for specific implementation is defined - Labs with smaller range length systems have limited applicability and would have to decline business for a certain set of devices - Only PC3 devices with smaller antenna aperture can be tested - Larger devices/QZs might not be applicable - Could prevent MU evolution with vendors trying to protect existing MTSU met with smaller range length systems - NF effects (DUT in NF of probe antenna) might have to be considered |
| Option 2: Whether the maximum radiation aperture of any of the panels integrated in the DUTs is ≤5cm or not | - Simplicity - Does not require OEMs to declare detailed antenna information - Allows full applicability of PC3 devices - Allows larger device sizes/QZs - Allows MU evolution more readily without vendors trying to protect existing MTSU met with smaller range length systems - NF effects (DUT in NF of probe antenna) do not have to be considered | - Does not allow test systems to be reduced in size |
| Option 3: Whether the maximum radiation aperture of any of the panels integrated in the DUT is ≤5cm, ≤4.5cm, ≤4cm, ≤3.5cm, etc. | - Allows test systems with smaller range lengths for certain DUTs | - UE vendors reluctant to declare detailed antenna information - Labs with smaller range length systems have limited applicability and would have to decline business for a certain set of devices - Only PC3 devices with smaller antenna aperture can be tested - Larger devices/QZs might not be applicable - Could prevent MU evolution with vendors trying to protect existing MTSU met with smaller range length systems - NF effects (DUT in NF of probe antenna) might have to be considered |

Option 2, i.e., UE vendor declares whether the maximum radiation aperture of any of the panels integrated in the UE is ≤5cm or not, is the most suitable approach.

Proposal 1: Select Option 2, i.e., UE vendor declares whether the maximum radiation aperture of any of the panels integrated in the UE is ≤5cm or not, as vendor declaration for the radiating aperture, D.

A CR to make the necessary changes is in [11].

# Conclusion

The following observations and proposals were made in this contribution.

Observation 1: Radiating aperture declarations have not been captured in 38.508-2.

Observation 2: Since some focus has shifted towards the DFF methodology for RRM 2 AoA test cases, it is important to define the vendor declaration of the radiation aperture in 38.508-2.

Observation 3: The QoQZ MU was shown to increase for DFF systems with smaller range lengths

Observation 4: FF conditions for the probe antenna cannot be guaranteed for range lengths determined for very small antenna apertures D of the DUT antenna array.

Proposal 1: Select Option 2, i.e., UE vendor declares whether the maximum radiation aperture of any of the panels integrated in the UE is ≤5cm or not, as vendor declaration for the radiating aperture, D.

# References

- TS 38.508-1, User Equipment (UE) conformance specification; Part 1: Common test environment, V17.0.0 (2021-03)

- TR38.810, Study on test methods, V16.6.1 (2020-09)

- TS 38.533, TS 38.533, User Equipment (UE) conformance specification; Radio Resource Management (RRM), V16.5.0 (2020-09)

- TS 38.508-2, User Equipment (UE) conformance specification; Part 2: Common Implementation Conformance Statement (ICS) proforma, V17.0.0

- R5-210839, On declaration of FR2 antenna implementation and test method applicability, Anritsu, 3GPP TSG-RAN5 Meeting 90-e, February 2021

- R5-211194, On Vendor Declaration Related to Antenna Aperture D for DFF, Keysight Technologies, 3GPP TSG-RAN5 Meeting 90-e, February 2021

- R5-213249, On Vendor Declaration Related to Antenna Aperture D for DFF, Keysight Technologies, 3GPP TSG-RAN5 Meeting #91-e, May 2021

- R5-212959, On declaration of antenna size D for FR2 DFF test method, Anritsu, 3GPP TSG-RAN5 Meeting 91-e, May 2021

- R5-192820, WF on Maximum Test System Uncertainty Evolution for FR2, Keysight Technologies, Rohde &Schwarz, Anritsu, Samsung, MVG, ETS-Lindgren, PCTEST Engineering Lab, Ericsson, 3GPP TSG-RAN5 Meeting #82, Mar 2019

- R5-212017, LS on antenna assumption and measurement grids for FR2 PC3 UE, TSG WG RAN4, 3GPP TSG RAN WG5 Meeting #91-e, May 2021

- R5-215581, CR on Antenna Aperture Declarations, Keysight Technologies, 3GPP TSG-RAN5 Meeting #92-e, August 2021