3GPP TSG SA WG 1 Meeting #113	S1-261267

9-13 February 2026, Goa, India	(revision of S1-261078, S1-261251)

Source:	Siemens, EDF

pCR Title:	Resolution of (editorial) EN (missing reference to KPI table) in 11.29 UC 6G-enabled decentralized smart grid control

Draft Spec:	3GPP TR 22.870 v1.1.0

Agenda item:	8.1.8

Document for:	Approval

Contact:	Michael Bahr ( bahr et siemens dod com )
Daniel Hauer ( daniel dod hauer et siemens dod com )
Kim Schindhelm ( corina desh kim dod schindhelm et siemens dod com )

Abstract: Resolution of editor’s note in 11.29.6 on editorial issue of providing reference to KPI table with time synchronization service requirements for smart grids. Related to Use Case on 6G-enabled decentralized smart grid control.

Change in 1267

- modify the table KPI to align with the use case [Huawei]

- modify the table NOTE to align with the use case and remove superfluous information [Huawei]

1. Introduction

In 3GPP TR 22.870 clause 11.29.6, the KPI table 11.29.6-1 on time synchronization service requirements for smart grids is not referenced from a potential requirement as stated in a respective editor’s note. This contribution resolves this editorial issue by providing a potential requirement referencing the KPI table.

Please note, the to-be-resolved editors note only asks for a reference to the KPI table (“Editor’s Note: Table 11.29.6-1 is not referred.”). The time synchronization KPIs in the table have been already approved and are not for further study in the editors note. There should be therefore no discussion on the KPI table and its content in 1078/1251.

The reference to the table is provided in the usual way by a potential requirement, that the KPIs in the table need to be supported:

“[PR 11.29.6-x] Subject to regulatory requirements and operator policy, the 6G system shall be able to support time synchronization service performance requirements for smart grids as given in Table 11.29.6-1.”

The KPI numbers come from common installations of distribution systems in Europe. The distribution system in the Austrian Bundesland Lower Austria is used as an example. We discussed the KPIs with our Siemens colleagues in Vienna, who are heavily involved in this area.

In the use case description (clause 11.29.1), the hierarchical grid structure of Medium-Voltage (MV) networks supplying multiple Low Voltage (LV) grids is mentioned.This is within the electrical distribution system of a Distribution System Operator (DSO). See also Figure 11.29.1-1 with an examle showing a single MV cell with multiple LV cells. The use case description (clause 11.29.1) also mentions the importance of time synchronization in smart grids. Despite the hierarchical grid structure, malfunctioning in one part may have effects in other parts of the distribution system. In order to react to these events, all controllable devices in the distribution system of an DSO, covering the whole service area of the DSO, need to be synchronized to the same time. The table provides corresponding numbers for those (#devices, service area). 1 µs time sync accuracy is the standard accuracy in smart grids for controllable devices.

Time synchronization is needed per Distribution System Operator (DSO). The service area corresponds to the service area of the DSO and can vary depending on the size of the DSO’s service area and might be based on geographical conditions and regional borders.

The KPI for Time synchronization accuracy of < 1 µs is provided in [414].

The KPI for Number of devices is from discussions with our application experts. Some indication on the number of designated critical-infrastructure UEs in most European Distribution System Operators (DSOs) is provided in [y1].

The KPI for Service Area is for a DSO in the Austrian Bundesland Lower Austria covering the whole Bundesland. Information on the service area of Distribution System Operators (DSOs) in the European Union is provided in [y1]. The KPI in the table is within the numbers for small/medium-sized DSOs provided in [y1].

[414]	"Implementation Guideline for Digital Interface to Instrument Transformers using 61850-9-2", UCA International Users Group, http://www.tc57wg10.info/downloads/digifspec92ler21040707cb.pdf.

[y1]	A. Meletiou, J. Vasiljevska, S. Vitiello: "DSO Observatory 2024" European Commission, Joint Research Centre (JRC), Luxembourg, 2025

What is new compared to 5G requirements?

The relevant 5G time synchronization requirements are contained in TS 22.104 Table 5.6.2-1. The user-specific clock synchronicity accuracy levels 1,2,3a,4, and 4a provide the required accuracy of < 1 µs. However, both the number of devices and the service area are far too small in these levels (up to 100-300 devices; < 20 km² or even below 1 km²; respectively).

Conclusion: The large number of devices and the large service area are not covered in existing requirements with clock synchronicity accuracy of < 1 µs.

Analysis of the smart grid use cases in TR 22.867 v18.2.0 shows the following:

Out of the 26 use cases (24 use case clause, one use case 5.20 in three sub-use cases)

- 9 use cases are relevant for UC 11.29 in TR 22.870 based on the scenario and area

- 8 use cases are partially relevant for UC 11.29 in TR 22.870

Out of these 17 (partially) relevant use cases, 6 use cases consider time synchronization KPIs.

- 2 use cases have a time sync accuracy of 1 µs (UC 5.13 and 5.19.1

- 2 use cases have a time sync acuracy of <= 10 µs (UC 5.3 and 5.12)

- 1 use case has a time sync acuracy of 10-20 µs (UC 5.19.2)

- 1 use case has a time sync acuracy of < 1 ms (UC 5.19.3)

The 2 use cases with time sync accuracy of 1 µs have

- either number of devices nor the service area given

- or far too small number of devices (<= 100) and service area (< 20 km²)

Large numbers of devices and large service areas are considered in 3 use cases (UC 5.20, 5.21, 5.24)

- number of devices of < 30-300 per km²

- service area of several km² up to 100,000 km²

- However, none ot these 3 use cases has time synchronization requirements.

- UC 5.20, 5.21 are relevant for UC 11.29 in TR 22.870 based on the scenario and area

- However, none of these 2 relevant use cases has time synchronizationr requirements (due to different applications/services than in UC 11.29)

Conclusion: The large number of devices and the large service area in combination with a time synchronization accuracy of 1 µs is new compared to 5G requirements.

The use case on 6G-enabled Decentralized Smart Grid Control has been elaborated in the SUSTAIN-6G project (https://sustain-6g.eu/).

Acknowledgements: This work is co-funded by the European Union under Grant Agreement 101191936. Views and opinions expressed are, however, those of the author(s) only and do not necessarily reflect those of all SUSTAIN-6G consortium parties nor those of the European Union or the SNS JU (granting authority). Neither the European Union nor the granting authority can be held responsible for them.

2. Reason for Change

Editors notes need to be resolved: a potential requirement with reference to KPI table 11.29.6-1 is needed.

3. Conclusions

Potential requirement added that refers to Table 11.29.6-1 with time synchronization service requirements for smart grids.

4. Proposal

It is proposed to agree the following changes to 3GPP TR 22.870 v1.1.0.

* * * First Change * * * *

### 11.29.6	Potential New Requirements needed to support the use case

[PR 11.29.6-1] Subject to regulatory requirements and operator policy, the 6G system shall be able to provide secure and continuous communication with agreed QoS between a group of designated critical-infrastructure UEs in a limited service area in case of service disruptions in the mobile network.

NOTE 1:	An example for such a group of designated critical-infrastructure UEs are UEs that manage LV grid flexibility—such as load shifting or energy storage utilization—based on real-time electricity demand and LV grid conditions (controllers DS of the LV-cells, smart grid devices (e.g. renewable energy sources, energy storage) in the LV-cells).

NOTE 2:	New additional devices will not join the group of designated critical-infrastructure UEs.

NOTE 3:	Service area is up to 20 km x 30 km.

Time synchronization

[PR 11.29.6-2] The 6G system shall provide suitable means at a designated critical-infrastructure UE to provide TX (sending) timestamps with accuracy of ±4 µs to an authorized third party application at the UE.

NOTE 4: The KPI of this requirement is taken from [414].

[PR 11.29.6-3] The 6G system shall be able to provide integrity protection for provided TX (sending) timestamps.

Editor’s Note: PR 11.29.6-3 is FFS.

[PR 11.29.6-x] Subject to regulatory requirements and operator policy, the 6G system shall be able to support time synchronization service performance requirements for backup critical communication for smart grids as given in Table 11.29.6-1.

Table 11.29.6-1: Time synchronization service performance requirements for backup critical communication for smart grids

| Number of devices | Time sychronization accuracy | Service area | Scenario |
| --- | --- | --- | --- |
| ≤300 (note) | [< 1 µs] | 20km x 30km (note) | intelligent, renewable-powered distribution systems (medium voltage (MV) cells, low voltage (LV) cells) |
| NOTE: Time synchronization is needed for Backup critical communication that is to be provided only to a limited set of critical UEs within a service area of 20 km x 30 km. |  |  |  |

Service performance requirements

[PR 11.29.6-4] Subject to regulatory requirements and operator policy, the 6G system shall be able to support service performance requirements as given in Table 11.29.6-2.

Table 11.29.6-2: Service performance requirements for smart grids

| Characteristic parameter |  |  |  | Influence quantity |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CS availability: target value (%) | CS reliability: mean time between failures | End-to-end latency: maximum | Service bit rate: user experienced data rate | Message size [byte] | Transfer interval: target value | Survival time | UE speed | # of UEs | Service area | Remarks |
| 99.999 9 |  | 3 ms | 5.4 Mbit/s | 140 kByte | ≤ 1 ms |  | Stationary | ≤ 200 | 20 km x 30 km | Distributed Energy Resources |
| 99.999 9 | - | < 5 ms | 1.5 Mbit/s | 1,500 Byte | ≥ 1 ms | 5 ms | Stationary | 20 | 20 km x 30 km | Electrical Distribution – Distributed automated switching for isolation and service restoration. |
| 99.999 |  | 100 ms |  | ~100 Byte | 200 ms |  | stationary | 400 | 20 km x 30 km | Distributed Voltage Control |
| > 99.9 |  | < 10 ms | UL: 16 Mbit/s DL: >100 kbit/s | 800 kByte | 10 ms |  |  | >10/km2 | 20 km x 30 km | Distributed energy storage – monitoring |
| > 99.9 |  | DL: <10 ms UL: 1 s | UL: 10.4 Mbit/s DL: >100 kbit/s | UL: 1.3 MByte DL >100 kbyte | 1 s |  |  | >10/km2 | 20 km x 30 km | Distributed energy storage – data collection |
| 99.999 9 |  | 100 ms | < 1 kbit/s per distributed energy resource |  |  |  | Stationary |  | 20 km x 30 km | Ensuring uninterrupted communication service availability during emergencies. |
| NOTE: The service performance requirements are based on TS 22.104 [64] Table 5.2-1. Adaptation to the use case of 6G-enabled Decentralized Smart Grid Control is done for parameters UE speed, # of UEs, and service area. |  |  |  |  |  |  |  |  |  |  |