3GPP TSG-SA WG1 Meeting #98e 	S1-221116r10

Electronic Meeting, 9 –19 MAY 2022	(revision of S1-22xxxx)

Source:	ZTE

pCR Title:	Pseudo-CR on medical instruments inventory management and positioning use case for Ambient-IoT

Draft Spec:	3GPP TR 22.840 0.0.0

Agenda item:	7.3

Document for:	Approval

Contact:	bian.lanjian@zte.com.cn,

xu.ling@zte.com.cn,

dai.bo@zte.com.cn

Abstract: This contribution proposes a new use case about medical instruments inventory management and positioning operation for FS_AmbientIoT.

1. Proposal

It is proposed to agree the following changes to 3GPP TR 22.840 0.0.0.

* * * First Change * * * *

2	References

The following documents contain provisions which, through reference in this text, constitute provisions of the present document.

-	References are either specific (identified by date of publication, edition number, version number, etc.) or non-specific.

-	For a specific reference, subsequent revisions do not apply.

-	For a non-specific reference, the latest version applies. In the case of a reference to a 3GPP document (including a GSM document), a non-specific reference implicitly refers to the latest version of that document in the same Release as the present document.

[1]	3GPP TR 21.905: "Vocabulary for 3GPP Specifications".

…

[2]	3GPP TS 22.261: "Service requirements for the 5G system".

[3]	GS1: "EPC Radio-Frequency Identity Protocols Generation-2 UHF RFID Standard (Release 2.1) ".

* * * Next Change * * * *

3	Definitions, symbols and abbreviations

3.1	Definitions

For the purposes of the present document, the terms and definitions given in 3GPP TR 21.905 [1] and the following apply. A term defined in the present document takes precedence over the definition of the same term, if any, in 3GPP TR 21.905 [1].

example: text used to clarify abstract rules by applying them literally.

Editor note: the definitions for Ambient IoT device and Ambient IoT service are FFS.

* * * Next Change * * * *

Followings are all new texts

5	Use cases

5.1	Medical instruments inventory management and positioning

5.1.1	Description

More and more medical instruments are utilized in hospital. They always need to be cleaned and sterilized, and shall withstand certain conditions e.g. high temperature, high pressure or humidity. Traditional inventory management for the medical instrument is usually operated manually, which is inefficient and even in some cases, may cause serious accident e.g. lost or invalidity. To improve safe and efficient utilization of the medical instrument, remote medical instrument inventory and online maintenance are being developed.

For the remote inventory and online maintenance, the medical instrument is needed to be supplied with Ambient IoT device. Considering the working condition of the medical instrument, this kind of Ambient IoT device should be battery free or with limited energy storage capability, maintenance-free and should have long service life time. Through 5G network and the IoT device, the medical instrument exchange inventory management and positioning information with medical instrument management platform.

Following is an example of service flow to illustrate an inventory and positioning operation for medical instruments.

5.1.2	Pre-Conditions

Network operator UU deploys a new service “Ambient IoT” through its 5G system. Hospital Z has subscribed the new service for its orthopaedic instrument inventory management.

Orthopaedic instruments generally refer to professional medical instruments specially used for orthopaedic surgery. According to the usage purpose, it can be classified as orthopaedic knives, orthopaedic scissors, orthopaedic forceps, orthopaedic hooks, orthopaedic needles, orthopaedic scrapers, orthopaedic cones, orthopaedic drills, orthopaedic saws, orthopaedic chisels, orthopaedic files / shovels, orthopaedic active instruments, etc.

A number of Ambient-IoT devices recording different orthopaedic instrument information are stuck on these orthopaedic instruments. They are usually indoor stored in the instrument warehouse or medical instrument storage room or special storage cabinet.

The Ambient-IoT device is battery free or with limited energy storage capability.

Belle is a nurse of Hospital Z. She has the authorization to remotely manage orthopedic instrument through the inventory management platform of the hospital. She can operate this work in the hospital or out of the hospital.

5.1.3	Service Flows

Belle wants to acquire the inventory information of orthopedic forceps. She uses her phone to send inventory request to the inventory management platform of the hospital. The platform requires the 5G network to collect inventory information of orthopedic forceps.

The 5G network then sends signals to the Ambient-IoT devices in Hospital Z. After receiving the signal, the ambient-IoT devices are active and can receive command from 5G network.

The 5G network checks the Ambient-IoT devices attached on the orthopedic forceps to report its status information.

Ambient-IoT devices on the orthopedic forceps report the corresponding inventory information (e.g. the serial number of the orthopedic forceps, usage status, usage records, years of use, integrity, etc.) to the inventory management platform of the hospital via 5G network.

The inventory management platform distributes the inventory information to Belle's phone.

After receives the status list of the orthopedic forceps, Belle selects a pair of orthopedic forceps from the list of orthopedic instruments and clicks on “positioning request”. The request is passed to the inventory management platform. The inventory management platform asks 5G network to collect the position of the selected orthopedic forceps.

The selected orthopedic forceps is now being transported in the hospital handcart from Hospital Outpatient building to Hospital Inpatient building. It’s moving speed is less than 6km/h.

The 5G network calculates the position of the selected orthopedic forceps after receives response of the Ambient-IoT device attached on the orthopedic forceps.

The 5G network then delivers the position information to the inventory management platform.

The platform responds the position informations to Belle’s phone.

Thus, Belle acquires the position of the selected orthopedic forceps on her phone.

5.1.4	Post-Conditions

Hospital Z utilizes Ambient-IoT service to support the remote inventory management of medical instrument. Belle can read the information of medical instrument. She can also find a medical instrument through the positioning information provided by ambient-IoT service.

5.1.5	Existing features partly or fully covering the use case functionality

None

5.1.6	Potential New Requirements needed to support the use case

[PR 5.1.6 -1] The 5G system shall be able to support communication with an Ambient-IoT device.

[PR 5.1.6 -2] The 5G network shall be able to provide group communication for a group of Ambient-IoT devices.

Editor’s note: This requirement is FFS.

[PR 5.1.6 -3] The 5G system shall be able to collect the information stored in an Ambient-IoT device.

Editor’s note: This requirement is FFS.

[PR 5.1.6 -4] The 5G system shall be able to support positioning for an Ambient-IoT device.

Editor’s note: KPIs is FFS.