3GPP TSG-SA WG6 Meeting #70	S6-255250

Dallas, USA, 17th – 21st November 2025	(revision of S6-25xxxx)

Source:	China Mobile

Title:	Update solution 2 of awareness of renewable energy

Spec:	3GPP 23.700-44 v0.2.0

Agenda item:	9.9

Document for:	Approval

Contact:	Liutangqing (liutangqing@chinamobile.com)

lvhuazhang (lvhuazhang@chinamobile.com)

1. Introduction

This pCR proposes solution 2 update for FS_EnergySys_Ph2_APP.

2. Reason for Change

In solution 2, there exists the editor’s note that how does EAS know the capability of renewable energy supporting is FFS.

One possible way is to request the energy supply information from OAM. Sometimes that in the data center or near the server cluster, the power sensor will be deployed. The power sensor can get the sensor data of energy supply, and provides this information to infrastructure monitor system. The monitor system is an independent monitoring system (such as SCADA, BMS or a dedicated power and environmental monitoring system). After gathering all of the sensor data (such as energy supply information) via industry protocol from sensor, the OAM can get the information from monitor system. And the EAS can act as AF to subscribe or get the renewable energy information or energy supply information from OAM.

3. Conclusions

None.

4. Proposal

It is proposed to agree the following changes to 3GPP TR 23.700-44 v0.2.0.

* * * First Change * * * *

6.2.2	Architecture impacts

In this solution, it doesn’t change the overall architecture of enabling edge applications defined in section 6.2 of 3GPP TS 23.558 [8]. But the following enhancements are added:

-	The EES can subscribe to EAS whether renewable is consumed by EAS. If the EAS consumes the renewable energy, for example in the morning time that solar energy can be consumed, the EES may select this EAS to save the energy.

The EAS can request the energy supply information from OAM.

In the data center or near the server cluster, the power sensor will be deployed. The power sensor can get the sensor data of energy supply, and provides this information to infrastructure monitor system. The power sensor always reports in real time to infrastructure monitor system through communication interfaces (such as RS485, Modbus): DC voltage, DC current, AC output power, total kilowatt-hours of current power generation, and equipment status (operating/faulting).

The infrastructure monitor system is an independent monitoring system (such as SCADA, BMS or a dedicated power and environmental monitoring system). After gathering all of the sensor data (such as energy supply information) via industry protocol from sensor, the OAM can get the energy supply information from infrastructure monitor system. And the EAS can subscribe or get the renewable energy information or energy supply information from OAM.

* * * Second Change * * * *

6.2.3.1	Procedure of subscription Energy information from EAS

Figure 6.2.3.1-1: EAS energy information subscription

1.	The EES sends an EAS energy information subscription request to the EAS. The EAS energy information subscription request includes the EES ID along with the security credentials, Event ID and time period to subscribe to information about energy information of EAS.

The energy information includes Renewable energy of EAS. The Renewable energy of EAS includes that either the indication of the EAS consumes renewable energy or not, or the Renewable energy factor of EAS.

The time period indicates the EAS to notify the Energy information of EAS in the certain time period in the future.

2.	Upon receiving the request from the EES, the EAS checks if the EEC is authorized to subscribe for information of the requested EAS(s).

3.	If the processing of the request was successful, the EAS sends an EAS energy information subscription response to the EES, which includes the subscription identifier and may include the expiration time, indicating when the subscription will automatically expire.

4.	The EAS sends an EAS renewable energy utilization notification to the EES.

The EAS can act as AF to subscribe or get the information of energy supply of EAS itself from OAM.

* * * End of Changes * * * *